CONSOLE COMMANDS FOR ADS1115EVM

'a' = credits

‘a1’ = Device 1 I2C address (Integers 0-3 and corresponds to the last 2 bits of the 			slave address.)

‘a2’ = Device 2 I2C address (Integers 0-3 and corresponds to the last 2 bits of the 		slave address.)

'c1' = Device 1 input channel (use integers 0-7 and corresponds to bits 14:12 of 			Configuration)

'c2' = Device 2 input channel (use integers 0-7 and corresponds to bits 14:12 of 			Configuration)

'cl1' = Device 1 comparator latch mode, and corresponds to bit 2 in 	Configuration.  A ‘0’ places the DUT in non-latching mode, and a ‘1’ as a 	latching comparator.

'cl2' = Device 2 comparator latch mode, and corresponds to bit 2 in 				Configuration.  A ‘0’ places the DUT in non-latching mode, and a ‘1’ as a 			latching comparator.

'cm1' = Device 1 comparator mode, and corresponds to bit 4 in Configuration.  A 	‘0’ places DUT as a traditional comparator, and a ‘1’ as a window 	comparator.

'cm2' = Device 2 comparator mode, and corresponds to bit 4 in Configuration.  A 			‘0’ places DUT as a traditional comparator, and a ‘1’ as a window 				comparator.

'cp1' = Device 1 polarity of ALERT/RDY pin, and corresponds to bit 3 in 	Configuration.  A ‘0’ places the pin active low, and a ‘1’ as active high.

'cp2' = Device 2 polarity of ALERT/RDY pin, and corresponds to bit 3 in 	Configuration.  A ‘0’ places the pin active low, and a ‘1’ as active high.

'cq1' = Device 1 comparator queue (Integers 0-3 and corresponds to bits 1:0 of 	Configuration.)

'cq2' = Device 1 comparator queue (Integers 0-3 and corresponds to bits 1:0 of 			Configuration.)

‘d’ = Get one reading from the devices (used for troubleshooting.)

'ee1' = write line contents to eeprom buffer 1.  Maximum characters is 31.

'ee2' = write line contents to eeprom buffer 2.  Maximum characters is 15.

'ee3' = write line contents to eeprom buffer 3.  Maximum characters is 15.

'ee4' = write line contents to eeprom buffer 4.  Maximum characters is 15.

'ee5' = write line contents to eeprom buffer 5.  Maximum characters is 15.

‘er’ = Read configuration data from EVM I2C EEPROM.  Data returned ‘|’ 			delimited ending in a CRLF.  Format is similar to:

ADS1115EVM|6496961-A|6496963-A|6496960-A|20090707(CRLF)

'ew' = write eeprom buffers to EVM EEPROM.

'j' = Read ALERT/RDY status. Returns status as a two character hex value.  ‘00’ 			both device pins are low.  ‘01’ device 1 pin is high and device 2 is low.  ’02’ 		device 1 pin is low and device 2 pin is high.  ‘03’ both device 1 and 2 are 			high.

‘p1’= Device 1 pga (Integers 0-5 and corresponds to bits 11:9 of Configuration.)

‘p2’= Device 2 pga (Integers 0-5 and corresponds to bits 11:9 of Configuration.)

‘pn’ = Power down, and corresponds to bit 8 in Configuration.  Integers 0-3 are used.  A ‘0’ places both devices in continuous conversion mode, and a ‘1’ places device 1 one-shot power down mode, while device 2 is continuous.  A ‘2’ places device 2 in one-shot power down mode and device 1 is continuous.  A ‘3’ places both devices in one-shot power down mode.

'q' = query parameters and display (see below for format)

'r' = datarate (Use integers 0-7 that corresponds to bits 7:5 of Configuration 	register)

‘rs’ = DUT reset uses I2C General Call.

's' = stream data (Data starts with device 1, ‘|’, device 2 followed by CRLF.  The 			format appears as ‘xxxx|xxxxCRLF’.)

'tl1' = Device 1 comparator low threshold register. Returns register setting as four character hex.  To change setting, enter as hex representation of 2 bytes, MSB-LSB.

'th1' = Device 1 comparator high threshold register. Returns register setting as four character hex.  To change setting, enter as hex representation of 2 bytes, MSB-LSB.

'tl2' = Device 2 comparator low threshold register. Returns register setting as four character hex.  To change setting, enter as hex representation of 2 bytes, MSB-LSB.

'th2' = Device 2 comparator high threshold register. Returns register setting as four character hex.  To change setting, enter as hex representation of 2 bytes, MSB-LSB.

'v' = version

‘vw’ = displays characters on LCD.  Maximum of 7 characters are displayed.

‘z’ = DAC output on MMB3.  Send hex bytes to set output representative of 20 	bits (5 characters MSB first.)  Returns ‘ok’ to acknowledge.

‘q’ returns the following format using ‘|’ for delimiter and ends with CRLF:

P10|P20|R0|C10|C20|CL10|CL20|CM10|CM20|CP10|CP20|CQ10|CQ20|TH1FFFF|TL1FFFF|

TH2FFFF|TL2FFFF|A10|A21|J00|PN0