| TI Hardware Engineering Change Order (ECO) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Document Number or Numbers 6507944 | Document Title or Titles MULTI-CAL-SLAVEKIT |  | Old Rev. D | New Rev. E |  | PAGE 1 OF 3 |
| Originator Nelcriz Laganas | Date 04/21/2020 | ECO completed by Nelcriz Laganas |  |  | Date 04/21/2020 |  |
| DESCRIPTION OF CHANGE |  |  |  |  |  |  |
| Updated kit list to latest format (with weight and dimension columns) Documents changed: Changed Kit List “Multi-Cal-Slave-KIT-B.xls” to “MULTI-CAL-SLAVEKIT Kit List RevE.xls”. |  |  |  |  |  |  |
| ATTACH ADDITIONAL PAGES IF NECESSARY |  |  |  |  |  |  |
| REASON FOR CHANGE |  |  |  |  |  |  |
| Updating kit list to latest requirement which includes weight and dimensions for kit items. |  |  |  |  |  |  |
| EFFECTIVITY (CHECK ALL THAT APPLY) |  |  |  |  |  |  |
| REMOVE MASTER DOC. IMMEDIATELY USE EXISTING INV UNTIL DEPLETED REWORK EXISTING INVENTORY EFFECTIVE IMMED. RETURN EXISTING INV SCRAP EXISTING INVENTORY BILL OF MATERIAL COST STOP PRODUCTION IMMEDIATELY TECHNICAL LITERATURE MARKETING INFO OTHER  ________________________ |  |  |  |  |  |  |

| TI Hardware Engineering Change Order (ECO) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Document Number or Numbers 6507944 | Document Title or Titles MULTI-CAL-SLAVEKIT |  | Old Rev. C | New Rev. D |  | PAGE 2 OF 3 |
| Originator Karthikeyan.R | Date 06/11/2018 | ECO completed by Kenny Loller |  |  | Date 06/11/2018 |  |
| DESCRIPTION OF CHANGE |  |  |  |  |  |  |
| We have uploaded the compliance document for the part – AQV102A C56, C57 - Part number has been changed from "GRM188R61E105KA12D" to "TMK107BJ105KA-T". R8 - Part number has been changed from "HVCB 1206 T2 1M 1% I" to "HVCB1206FKC1M00". R006, R106, R206, R306, R406, R506, R606, R706, R007, R107, R207, R307, R407, R507, R607, R707,R939, R917, R916 - Part number has been changed from "RMCF 1/16 100 5% R" to "ERJ-3GEYJ101V". R004, R104, R204, R304, R404, R504, R604, R704, - Part number has been changed from "RMCF 1/8 200 5% R" to "ERJ-8GEYJ201V". R64 - Part number has been changed from "RMCF 1/16 10K 1% R" to "RMCF0603FT10K0". U903, U904, U906, U907, U908 - Part number has been changed from "MAX354CWE" to "MAX354CWE+". U35 - Part number has been changed from "SN74HC273DBR" to "SN74HC273DBRG4". F1, F2 - Part number has been changed from "BLM31PG121SN1" to "BLM31PG121SN1L". J8, J9 - Part number has been changed from "AWHW60G-0202-T-R" to "AWHW 60G-0202-T". Description and manufacturer name has been updated for all line items in the BOM. Documents changed: Changed BOM "Multi-Cal_Slave_BOM_rev_f2.xls" to "Multi-Cal_Slave_BOM_rev_D.xls". |  |  |  |  |  |  |
| ATTACH ADDITIONAL PAGES IF NECESSARY |  |  |  |  |  |  |
| REASON FOR CHANGE |  |  |  |  |  |  |
| Available part number has been updated. |  |  |  |  |  |  |
| EFFECTIVITY (CHECK ALL THAT APPLY) |  |  |  |  |  |  |
| REMOVE MASTER DOC. IMMEDIATELY USE EXISTING INV UNTIL DEPLETEDREWORK EXISTING INVENTORY EFFECTIVE IMMED. RETURN EXISTING INVSCRAP EXISTING INVENTORY BILL OF MATERIAL COSTSTOP PRODUCTION IMMEDIATELY TECHNICAL LITERATURE MARKETING INFO OTHER ________________________ |  |  |  |  |  |  |

| TI HardwareEngineering Change Order (ECO) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Document Number or Numbers EDGE#; 6507944 | Document Title or Titles Multi-Cal-Slave |  | Old Rev. B | New Rev. C |  | PAGE 3 OF 3 |
| Originator Dennis Goeke | Date 12/1/16 | ECO completed by Kenny Loller |  |  | Date 01/02/2016 |  |
| DESCRIPTION OF CHANGE |  |  |  |  |  |  |
| Revised 3 files: Multi-Cal_Slave_BOM_rev_f2.xls Revised BOM to reflect the addition of (2)Multi-Cal-Int-Cable and (1) Mutli-Cal-Interface pcb. Removed R938 Added Strain Relief for ribbon cable. Multi-Cal-Slave-KIT-B.xls Revised Kit List to reflect addition of (2)Multi-Cal-Int-Cable and (1) Mutli-Cal-Interface pcb Multi-Cal-Slave-PCA-A.zip Revised assembly/test document to clarify the requirement of building and including a small ribbon cable with the Multi-Cal-Slave board. This was done originally, but wasn’t documented very well. |  |  |  |  |  |  |
| ATTACH ADDITIONAL PAGES IF NECESSARY |  |  |  |  |  |  |
| REASON FOR CHANGE |  |  |  |  |  |  |
| Problems were encountered at CM final test with flashing firmware. |  |  |  |  |  |  |
| EFFECTIVITY (CHECK ALL THAT APPLY) |  |  |  |  |  |  |
| REMOVE MASTER DOC. IMMEDIATELY USE EXISTING INV UNTIL DEPLETEDREWORK EXISTING INVENTORY EFFECTIVE IMMED. RETURN EXISTING INVSCRAP EXISTING INVENTORY BILL OF MATERIAL COSTSTOP PRODUCTION IMMEDIATELY TECHNICAL LITERATURE MARKETING INFO OTHER ________________________ |  |  |  |  |  |  |