## Slide 1: PGA309 Test Board Jumper Settings
Ian Williams
4/4/2016
Notes: Hello, and welcome the TI Precision Lab discussing the relationship between power and temperature in operational amplifiers. In this video, we’ll discuss the power dissipation of amplifiers at DC and AC, describe the thermal model of an amplifier and use it to calculate the amplifier’s junction temperature, and describe the absolute maximum temperature ratings of the amplifier as well as its internal thermal protection schemes.

## Slide 2: Jumper Settings - IOUT Mode
Jumper | Position
V2one | NC
ONE_W | PRG
PGA_REF | XTR
PGA_OUT | XTR
Vs | XTR
I_OUT | IOUT
+Vin | XTR

## Slide 3: Jumper Settings - 4-Wire VOUT Mode
Jumper | Position
V2one | NC
ONE_W | PRG
PGA_REF | NC
PGA_OUT | NC
Vs | REG
I_OUT | GND
+Vin | REG

## Slide 4: Jumper Settings - 3-Wire VOUT Mode
Jumper | Position
V2one | V2PRG
ONE_W | V2PRG
PGA_REF | NC
PGA_OUT | NC
Vs | REG
I_OUT | GND
+Vin | REG