## Slide 1: PGA309EVM-USB Pre-Cal Test File and Sensor Emulation Test
November 16, 2016
Errol Leon

## Slide 2
PGA309EVM-USB
Pre-Cal Loading File
Disconnect external sensors from the EVM.

## Slide 3
PGA309EVM-USB
Load Pre-Cal File
Load “Vout_4wire_4p096_diode_test_file.txt”
The Config Temp ADC and Pre Cal File menu should have the following settings.

## Slide 4
PGA309EVM-USB
Loading the Model File
Click “Select Pre Cal File”
Load “Vout_4wire_4p096_diode_test_file.txt”
Click “Select Sensor Emulation File”
Load “nonlin2.csv”
Click box “Use Sensor Emulator”
Click Save button
Save file as “4wire_4p096_diode_test_file.txt”
Close window

## Slide 5
PGA309EVM-USB
Loading the Model File
Click “Select Model File Emulator File”
Load “4wire_4p096_diode_test_file.txt”
Click
Here

## Slide 6
PGA309EVM-USB
Calibration
Click “Auto-continue” box
Click “Start” to initiate calibration
Click
Here

## Slide 7
PGA309EVM-USB
Calibration
Once calibration is completed, calibration info should have the following values.

## Slide 8
PGA309EVM-USB
Calibration
Click “Run Sensor Emulation”
Click
Here

## Slide 9
PGA309EVM-USB
Sensor Emulation
Type “-40” in the temperature box
Screen-shot results
Enter
Value Here

## Slide 10
PGA309EVM-USB
Sensor Emulation
Type “50” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 11
PGA309EVM-USB
Sensor Emulation
Type “100” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 12
PGA309EVM-USB
Sensor Emulation
Type “25” in the temperature box
Screen-shot results
Enter
Value Here

## Slide 13
PGA309EVM-USB
Sensor Emulation
Type “50” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 14
PGA309EVM-USB
Sensor Emulation
Type “100” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 15
PGA309EVM-USB
Sensor Emulation
Type “85” in the temperature box
Screen-shot results
Enter
Value Here

## Slide 16
PGA309EVM-USB
Sensor Emulation
Type “50” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 17
PGA309EVM-USB
Sensor Emulation
Type “100” in the Load as % box
Screen-shot results
Enter
Value Here

## Slide 18
PGA309EVM-USB
EEPROM Data
Screen-shot EEPROM results