## Slide 1: Two op amp measurement loop

## Slide 2: Power Supply Rejection Ratio
1000·VOS
R1
+1.85V
VOS
DUT
-0.85V
Min Supply
PSRR = ΔVOS / ΔVS
999 R1
PSRR test part 1 of 2
+
-
A2
Notes: Does this circuit look familiar?
Simplified, conceptual
How does the customer use it? With the inputs at mid supply? With the inputs at the most negative rail?

## Slide 3: Power Supply Rejection Ratio
1000·VOS
R1
999 R1
+3.25V
VOS
DUT
-2.25V
Max Supply
PSRR = ΔVOS / ΔVS
PSRR test part 2 of 2
+
-
A2

## Slide 4: Power Supply Rejection Ratio
VOS vs. VS
VOS(μV)
Total Supply Voltage
Operation “falling out”
at low voltage.
“Soft” breakdown at high voltage.
1 2 3 4 5 6
Notes: We include PSRR vs. Frequency and CMRR vs. Frequency in out data sheets.

## Slide 5: Power Supply Rejection Ratio
PSRR = ΔVOS / ΔVS
Total Supply Voltage
1 2 3 4 6
At TA = +25°C, RL = 10kW connected to VS/2 and VOUT = VS/2, unless otherwise noted.
VOS(μV)
Max
Vs
Min
Vs
PSRR is slope over end-points.
120
90
60
30
0
-30
-60
-90
-120
Notes: ? At min Vs the Aol falls off
? At max Vs soft breakdown