


1. Open the Fusion tool, select Addr 52d device, “Click to configure device”.




1. The windows of the Configuration UCD9248 @ PMBus Addr 52d. Select File -> Import to device.




1. Select Porject File(.xml) -> Next.




1. Select File -> “select relevant file” -> Open




1. Click “Next” button




1. Select “Import & Write Device Configuration” -> Next




1. Click “Select All” -> Next.



1. Click “Import” button



1. Click “Next” button



1. Got a warning error in here. And then, click “ok”

