## input
* Texas Instruments Data Flash File
* File created Thu Mar 12 16:09:38 2020
*
* Device Number 100
* Firmware Version 1.02
* Build Number 10
* Order Number 0
*
* bqz Device Number 100
* bqz Firmware Version 1.02
* bqz Build Number 9
*
* Field Order: Class name | SubClass name | Parameter name | Parameter Value | Display Units | Data Type | Data Length | Address Offset | Default Value | Minimum Value | Maximum Value | Display Format | Read Formula | Write Formula | Flags | Help | Native Units | Data Flash Raw Value
Calibration | Data | CC Gain | 102.538 | mOhm | F | 4 | 0 | 100 | 0.02 | 10 | ff.fff | 4.768/x | 4.768/x |  |  | - | 0x7c3e76c9
Calibration | Data | CC Delta | 102.416 | mOhm | F | 4 | 4 | 100 | 29826.2 | 5677445 | fffffff.fff | 5.677445e6/x | 5.677445e6/x |  |  | - | 0x90588b23
Calibration | Data | CC Offset | -0.43 | mA | I | 2 | 8 | -0.42 | -32767 | 32767 | ddd.dd | (x*.48)/16 | (x*16)/.48 |  |  | mA | 0xfa67
Calibration | Data | AD I Offset | 76 | num | I | 2 | 10 | 76 | -32767 | 32767 | ddd | x | x |  |  | num | 0x004c
Calibration | Data | Board Offset | -89 | Counts | I | 1 | 12 | 0 | -128 | 127 | ddd | x | x |  |  | Counts | 0xa7
Calibration | Data | Int Temp Offset | 0 | Â°C | I | 1 | 13 | 0 | -128 | 127 | dd.d | x | x |  |  | 0.1Â°C | 0x00
Calibration | Data | Ext Temp Offset | 0 | Â°C | I | 1 | 14 | 0 | -128 | 127 | dd.d | x | x |  |  | 0.1Â°C | 0x00
Calibration | Data | Pack V Offset | 0 | mV | I | 1 | 15 | 0 | -128 | 127 | ddd | x | x |  |  | mV | 0x00
Calibration | Data | VIN Gain | 26200 | mV | U | 2 | 16 | 29000 | 0 | 65535 | ddd | x | x |  |  | mV | 0x6658
Calibration | Temp Model | Int Coeff 1 | 0 | Num | I | 2 | 18 | 0 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x0000
Calibration | Temp Model | Int Coeff 2 | 0 | Num | I | 2 | 20 | 0 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x0000
Calibration | Temp Model | Int Coeff 3 | -12324 | Num | I | 2 | 22 | -12324 | -32768 | 32767 | ddd | x | x |  |  | Num | 0xcfdc
Calibration | Temp Model | Int Coeff 4 | 613.1 | degK | I | 2 | 24 | 613.1 | -32768 | 32767 | dd.d | x | x |  |  | 0.1 degK | 0x17f3
Calibration | Temp Model | Int Min AD | 0 | - | I | 2 | 26 | 0 | -32768 | 32767 | ddd | x | x |  |  | - | 0x0000
Calibration | Temp Model | Int Max Temp | 6131 | 0.1degK | I | 2 | 28 | 6131 | -32768 | 32767 | ddd | x | x |  |  | 0.1degK | 0x17f3
Calibration | Temp Model | Ext Coef 1 | 20982 | Num | I | 2 | 30 | 20982 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x51f6
Calibration | Temp Model | Ext Coef 2 | -13836 | Num | I | 2 | 32 | -13836 | -32768 | 32767 | ddd | x | x |  |  | Num | 0xc9f4
Calibration | Temp Model | Ext Coef 3 | 5202 | Num | I | 2 | 34 | 5202 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x1452
Calibration | Temp Model | Ext Coef 4 | 2337 | Num | I | 2 | 36 | 2337 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x0921
Calibration | Temp Model | Ext rc0 | 12909 | Counts | I | 2 | 38 | 12909 | -32768 | 32767 | ddd | x | x |  |  | Counts | 0x326d
Calibration | Temp Model | Vcomp Coeff 1 | 0 | num | I | 2 | 40 | 0 | -32768 | 32767 | ddddd | x | x |  |  | num | 0x0000
Calibration | Temp Model | Vcomp Coeff 2 | 14902 | num | I | 2 | 42 | 14902 | -32768 | 32767 | ddddd | x | x |  |  | num | 0x3a36
Calibration | Temp Model | Vcomp Coeff 3 | -623 | num | I | 2 | 44 | -623 | -32768 | 32767 | ddddd | x | x |  |  | num | 0xfd91
Calibration | Temp Model | Vcomp Coeff 4 | 37 | num | I | 2 | 46 | 37 | -32768 | 32767 | ddddd | x | x |  |  | num | 0x0025
Calibration | Temp Model | Vcomp Input Multiplier | 48 | Num | U | 1 | 48 | 48 | 0 | 255 | ddd | x | x |  |  | Num | 0x30
Calibration | Temp Model | Vcomp Output Divisor | 256 | Num | I | 2 | 49 | 256 | -32768 | 32767 | ddd | x | x |  |  | Num | 0x0100
Calibration | Current | Filter | 239 | Num | U | 1 | 51 | 239 | 0 | 255 | ddd | x | x |  |  | Num | 0xef
Configuration | Registers | Operation Config A | c2 | hex | B | 1 | 433 | 80 | 0x00 | 0xFF | hh | x | x | TEMPS¦EXTVCELL¦WRTEMP¦LF_EN¦RSVD¦GNDSEL¦GMSEL1¦GMSEL0 |  | hex | 0xc2
Configuration | Registers | Alert Config | f3 | hex | B | 1 | 434 | f3 | 0x00 | 0xFF | hh | x | x | BATLOW¦TEMPLOW¦TEMPHIGH¦SOC_LOW¦EOS¦RSVD¦G_DONE¦INITCOMP |  | hex | 0xf3
Configuration | Registers | Clk Ctl Reg | 9 | hex | U | 1 | 435 | 9 | 0x00 | 0x0F | hh | x | x |  |  | hex | 0x09
Configuration | Registers | Battery ID | 0 | hex | U | 1 | 596 | 0 | 0 | 0x03 | hh | x | x | RSVD¦RSVD¦RSVD¦RSVD¦RSVD¦RSVD¦BATT_ID1¦BATT_ID0 |  | hex | 0x00
Configuration | Power | Flash Update OK Voltage | 2900 | mV | I | 2 | 438 | 2800 | 0 | 4200 | ddd | x | x |  |  | mV | 0x0b54
Configuration | Power | Offset Cal Inhibit Temp Low | -40 | Â°C | I | 2 | 440 | 5 | -400 | 1200 | dd.d | x | x |  |  | 0.1Â°C | 0xfe70
Configuration | Power | Offset Cal Inhibit Temp High | 80 | Â°C | I | 2 | 442 | 45 | -400 | 1200 | dd.d | x | x |  |  | 0.1Â°C | 0x0320
Configuration | Data | Default Temperature | 298.2 | K | I | 2 | 468 | 298.2 | 2732 | 3732 | dd.d | x | x |  |  | 0.1K | 0x0ba6
Configuration | Data | Device Name | bq35100 | - | S | 8 | 96 | bq35100 | x | x | s | x | x |  |  | - | 0x0762713335313030
Configuration | Data | Data Flash Version | ffff | - | U | 2 | 104 | ffff | 0 | 0xffff | hhhh | x | x |  |  | - | 0xffff
Configuration | Discharge | OT Dsg | 60 | Â°C | I | 2 | 470 | 60 | 0 | 1200 | dd.d | x | x |  |  | 0.1Â°C | 0x0258
Configuration | Discharge | OT Dsg Time | 2 | s | U | 1 | 472 | 2 | 0 | 60 | ddd | x | x |  |  | s | 0x02
Configuration | Discharge | OT Dsg Recovery | 55 | Â°C | I | 2 | 473 | 55 | 0 | 1200 | dd.d | x | x |  |  | 0.1Â°C | 0x0226
Configuration | Discharge | BatLow Voltage Set Threshold | 2700 | mV | I | 2 | 475 | 2700 | 0 | 32767 | ddd | x | x |  |  | mV | 0x0a8c
Configuration | Discharge | BatLow Voltage Set Time | 2 | s | U | 1 | 477 | 2 | 0 | 60 | ddd | x | x |  |  | s | 0x02
Configuration | Discharge | BatLow Voltage Clear Threshold | 3000 | mV | I | 2 | 478 | 3000 | 0 | 32767 | ddd | x | x |  |  | mV | 0x0bb8
Configuration | Discharge | Under Temperature Set Threshold | -200 | 0.1Â°C | I | 2 | 480 | 50 | -400 | 250 | ddd | x | x |  |  | 0.1Â°C | 0xff38
Configuration | Discharge | Under Temperature Set Time | 2 | s | U | 1 | 482 | 2 | 0 | 60 | ddd | x | x |  |  | s | 0x02
Configuration | Discharge | Under Temperature Clear | -100 | 0.1Â°C | I | 2 | 483 | 100 | -400 | 250 | ddd | x | x |  |  | 0.1Â°C | 0xff9c
Configuration | Discharge | SOH Low | 5 | % | I | 2 | 485 | 5 | 0 | 100 | ddd | x | x |  |  | % | 0x0005
Configuration | Integrity Data | Static Chem DF Checksum | 7b29 | hex | U | 2 | 86 | 58d2 | 0 | 0x7fff | hhhh | x | x |  |  | hex | 0x7b29
Configuration | Integrity Data | IF Checksum | 4c0b3d70 | hex | U | 4 | 92 | 4c0b3d6f | 0 | 0xffffffff | hhhhhhhh | x | x |  |  | hex | 0x4c0b3d70
Configuration | Integrity Data | Reset Counter WD | 0 | Num | U | 1 | 595 | 0 | 0 | 255 | ddd | x | x |  |  | Num | 0x00
LTFlash | Voltage | Primary Max | 0 | mV | I | 2 | 576 | 0 | 0 | 32767 | ddd | x | x |  |  | mV | 0x0000
LTFlash | Voltage | Primary Min | 32767 | mV | I | 2 | 578 | 4000 | 0 | 32767 | ddd | x | x |  |  | mV | 0x7fff
LTFlash | Current | Max Discharge | -1000 | mA | I | 2 | 580 | -2000 | -32768 | 0 | ddd | x | x |  |  | mA | 0xfc18
LTFlash | Current | Min Discharge | 0 | mA | I | 2 | 582 | 0 | 0 | 32767 | ddd | x | x |  |  | mA | 0x0000
LTFlash | Temperature | Max Cell | 80 | Â°C | I | 2 | 584 | 0 | -128 | 127 | ddd | x | x |  |  | Â°C | 0x0050
LTFlash | Temperature | Min Cell | -40 | Â°C | I | 2 | 586 | 20 | -128 | 127 | ddd | x | x |  |  | Â°C | 0xffd8
LTFlash | Temperature | Max Gauge | 80 | Â°C | I | 2 | 588 | 0 | -128 | 127 | ddd | x | x |  |  | Â°C | 0x0050
LTFlash | Temperature | Min Gauge | -40 | Â°C | I | 2 | 590 | 20 | -128 | 127 | ddd | x | x |  |  | Â°C | 0xffd8
LTFlashDflt | Voltage | Primary Max | 0 | mV | I | 2 | 490 | 0 | 0 | 32767 | ddd | x | x |  |  | mV | 0x0000
LTFlashDflt | Voltage | Primary Min | 32767 | mV | I | 2 | 492 | 4000 | 0 | 32767 | ddd | x | x |  |  | mV | 0x7fff
LTFlashDflt | Voltage | Primary Delta | 10 | mV | U | 1 | 494 | 10 | 1 | 255 | ddd | x | x |  |  | mV | 0x0a
LTFlashDflt | Current | Max Discharge | -1000 | mA | I | 2 | 495 | -2000 | -32768 | 0 | ddd | x | x |  |  | mA | 0xfc18
LTFlashDflt | Current | Min Discharge | 0 | mA | I | 2 | 497 | 0 | 0 | 32767 | ddd | x | x |  |  | mA | 0x0000
LTFlashDflt | Current | Gauge Delta | 25 | mA | U | 1 | 499 | 25 | 1 | 255 | ddd | x | x |  |  | mA | 0x19
LTFlashDflt | Temperature | Max Cell | 80 | Â°C | I | 2 | 500 | 0 | -128 | 127 | ddd | x | x |  |  | Â°C | 0x0050
LTFlashDflt | Temperature | Min Cell | -40 | Â°C | I | 2 | 502 | 20 | -128 | 127 | ddd | x | x |  |  | Â°C | 0xffd8
LTFlashDflt | Temperature | Cell Delta T | 1 | Â°C | U | 1 | 504 | 1 | 1 | 255 | ddd | x | x |  |  | Â°C | 0x01
LTFlashDflt | Temperature | Max Gauge | 80 | Â°C | I | 2 | 505 | 0 | -128 | 127 | ddd | x | x |  |  | Â°C | 0x0050
LTFlashDflt | Temperature | Min Gauge | -40 | Â°C | I | 2 | 507 | 20 | -128 | 127 | ddd | x | x |  |  | Â°C | 0xffd8
LTFlashDflt | Temperature | Gauge Delta T | 1 | Â°C | U | 1 | 509 | 1 | 1 | 255 | ddd | x | x |  |  | Â°C | 0x01
System Data | Manufacturer Data | Manufacturer Info Block A01 | 0 | Hex | U | 1 | 54 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A02 | 0 | Hex | U | 1 | 55 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A03 | 0 | Hex | U | 1 | 56 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A04 | 0 | Hex | U | 1 | 57 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A05 | 0 | Hex | U | 1 | 58 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A06 | 0 | Hex | U | 1 | 59 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A07 | 0 | Hex | U | 1 | 60 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A08 | 0 | Hex | U | 1 | 61 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A09 | 0 | Hex | U | 1 | 62 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A10 | 0 | Hex | U | 1 | 63 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A11 | 0 | Hex | U | 1 | 64 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A12 | 0 | Hex | U | 1 | 65 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A13 | 0 | Hex | U | 1 | 66 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A14 | 0 | Hex | U | 1 | 67 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A15 | 0 | Hex | U | 1 | 68 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A16 | 0 | Hex | U | 1 | 69 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A17 | 0 | Hex | U | 1 | 70 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A18 | 0 | Hex | U | 1 | 71 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A19 | 0 | Hex | U | 1 | 72 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A20 | 0 | Hex | U | 1 | 73 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A21 | 0 | Hex | U | 1 | 74 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A22 | 0 | Hex | U | 1 | 75 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A23 | 0 | Hex | U | 1 | 76 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A24 | 0 | Hex | U | 1 | 77 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A25 | 0 | Hex | U | 1 | 78 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A26 | 0 | Hex | U | 1 | 79 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A27 | 0 | Hex | U | 1 | 80 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A28 | 0 | Hex | U | 1 | 81 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A29 | 0 | Hex | U | 1 | 82 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A30 | 0 | Hex | U | 1 | 83 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A31 | 0 | Hex | U | 1 | 84 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
System Data | Manufacturer Data | Manufacturer Info Block A32 | 0 | Hex | U | 1 | 85 | 0 | 0 | 0xff | hh | x | x |  |  | Hex | 0x00
Gas Gauging | Design | Cell Design Capacity mAh | 5800 | mAh | I | 2 | 510 | 2200 | 0 | 32767 | ddddd | x | x |  |  | mAh | 0x16a8
Gas Gauging | Design | Cell Design Voltage | 3600 | mV | I | 2 | 514 | 3700 | 0 | 32767 | ddddd | x | x |  |  | mV | 0x0e10
Gas Gauging | Design | Cell Terminate Voltage | 3100 | mV | I | 2 | 516 | 2000 | 0 | 32767 | ddddd | x | x |  |  | mV | 0x0c1c
Gas Gauging | Design | Series Cell Count | 2 | Counts | I | 1 | 518 | 1 | 1 | 8 | ddddd | x | x |  |  | Counts | 0x02
Gas Gauging | Design | Max Load | 1000 | mA | I | 2 | 519 | 50 | 0 | 32767 | ddddd | x | x |  |  | mA | 0x03e8
Gas Gauging | Design | State of Health | 0 | % | I | 1 | 521 | 100 | 0 | 100 | ddd | x | x |  |  | % | 0x00
Gas Gauging | Design | State of Health Max Delta | 5 | % | I | 1 | 522 | 2 | 0 | 100 | ddd | x | x |  |  | % | 0x05
Accum_Table | Table0 | page active | 55 | - | U | 1 | 640 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x55
Accum_Table | Table0 | Last Entry Code 0 | 0 | - | U | 1 | 641 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x00
Accum_Table | Table0 | Last Entry Code 1 | 0 | - | U | 1 | 642 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x00
Accum_Table | Table0 | Last Entry Code 2 | 0 | - | U | 1 | 643 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x00
Accum_Table | Table0 | Last Entry Code 3 | 0 | - | U | 1 | 644 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x00
Accum_Table | Table0 | Last Entry Code 4 | ff | - | U | 1 | 645 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table0 | intPart 0 | 7fff | mA | U | 2 | 646 | 7fff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fff
Accum_Table | Table0 | fractPart 0 | 0 | mA | U | 4 | 648 | 0 | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0x00000000
Accum_Table | Table0 | intPart 1 | 7ffe | mA | U | 2 | 652 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7ffe
Accum_Table | Table0 | fractPart 1 | df1f92b0 | mA | U | 4 | 654 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xdf1f92b0
Accum_Table | Table0 | intPart 2 | 7ffe | mA | U | 2 | 658 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7ffe
Accum_Table | Table0 | fractPart 2 | b1b8f938 | mA | U | 4 | 660 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xb1b8f938
Accum_Table | Table0 | intPart 3 | 7ffe | mA | U | 2 | 664 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7ffe
Accum_Table | Table0 | fractPart 3 | 6f750290 | mA | U | 4 | 666 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0x6f750290
Accum_Table | Table0 | intPart 4 | 7ff8 | mA | U | 2 | 670 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7ff8
Accum_Table | Table0 | fractPart 4 | c22b5126 | mA | U | 4 | 672 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xc22b5126
Accum_Table | Table0 | intPart 5 | 7fbc | mA | U | 2 | 676 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fbc
Accum_Table | Table0 | fractPart 5 | dc48ab26 | mA | U | 4 | 678 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xdc48ab26
Accum_Table | Table0 | intPart 6 | 7fba | mA | U | 2 | 682 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fba
Accum_Table | Table0 | fractPart 6 | cad18bbb | mA | U | 4 | 684 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xcad18bbb
Accum_Table | Table0 | intPart 7 | 7fba | mA | U | 2 | 688 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fba
Accum_Table | Table0 | fractPart 7 | c7e3ff07 | mA | U | 4 | 690 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xc7e3ff07
Accum_Table | Table0 | intPart 8 | 7fba | mA | U | 2 | 694 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fba
Accum_Table | Table0 | fractPart 8 | c3923a68 | mA | U | 4 | 696 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xc3923a68
Accum_Table | Table1 | page active | ff | - | U | 1 | 704 | 55 | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table1 | Last Entry Code 0 | 55 | - | U | 1 | 705 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0x55
Accum_Table | Table1 | Last Entry Code 1 | ff | - | U | 1 | 706 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table1 | Last Entry Code 2 | ff | - | U | 1 | 707 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table1 | Last Entry Code 3 | ff | - | U | 1 | 708 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table1 | Last Entry Code 4 | ff | - | U | 1 | 709 | ff | 0 | 0xFF | hh | x | x |  |  | - | 0xff
Accum_Table | Table1 | intPart 0 | 7fba | mA | U | 2 | 710 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fba
Accum_Table | Table1 | fractPart 0 | c3298d20 | mA | U | 4 | 712 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xc3298d20
Accum_Table | Table1 | intPart 1 | 7fba | mA | U | 2 | 716 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0x7fba
Accum_Table | Table1 | fractPart 1 | c29519b5 | mA | U | 4 | 718 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xc29519b5
Accum_Table | Table1 | intPart 2 | ffff | mA | U | 2 | 722 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 2 | ffffffff | mA | U | 4 | 724 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 3 | ffff | mA | U | 2 | 728 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 3 | ffffffff | mA | U | 4 | 730 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 4 | ffff | mA | U | 2 | 734 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 4 | ffffffff | mA | U | 4 | 736 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 5 | ffff | mA | U | 2 | 740 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 5 | ffffffff | mA | U | 4 | 742 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 6 | ffff | mA | U | 2 | 746 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 6 | ffffffff | mA | U | 4 | 748 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 7 | ffff | mA | U | 2 | 752 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 7 | ffffffff | mA | U | 4 | 754 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Accum_Table | Table1 | intPart 8 | ffff | mA | U | 2 | 758 | ffff | 0 | 0xFFFF | hhhh | x | x |  |  | mA | 0xffff
Accum_Table | Table1 | fractPart 8 | ffffffff | mA | U | 4 | 760 | ffffffff | 0 | 0xFFFFFFFF | hhhhhhhh | x | x |  |  | mA | 0xffffffff
Ra Tables | Ra0 Table | Ra 0 | 5816 | 2^-10ohm | I | 2 | 373 | 1126 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x16b8
Ra Tables | Ra0 Table | Ra 1 | 5699 | 2^-10ohm | I | 2 | 375 | 1197 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x1643
Ra Tables | Ra0 Table | Ra 2 | 5824 | 2^-10ohm | I | 2 | 377 | 1186 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x16c0
Ra Tables | Ra0 Table | Ra 3 | 6059 | 2^-10ohm | I | 2 | 379 | 1110 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x17ab
Ra Tables | Ra0 Table | Ra 4 | 6357 | 2^-10ohm | I | 2 | 381 | 1157 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x18d5
Ra Tables | Ra0 Table | Ra 5 | 6563 | 2^-10ohm | I | 2 | 383 | 1058 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x19a3
Ra Tables | Ra0 Table | Ra 6 | 6790 | 2^-10ohm | I | 2 | 385 | 1121 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x1a86
Ra Tables | Ra0 Table | Ra 7 | 7313 | 2^-10ohm | I | 2 | 387 | 1501 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x1c91
Ra Tables | Ra0 Table | Ra 8 | 7690 | 2^-10ohm | I | 2 | 389 | 1646 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x1e0a
Ra Tables | Ra0 Table | Ra 9 | 8197 | 2^-10ohm | I | 2 | 391 | 1749 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x2005
Ra Tables | Ra0 Table | Ra 10 | 8773 | 2^-10ohm | I | 2 | 393 | 2898 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x2245
Ra Tables | Ra0 Table | Ra 11 | 9449 | 2^-10ohm | I | 2 | 395 | 5888 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x24e9
Ra Tables | Ra0 Table | Ra 12 | 10076 | 2^-10ohm | I | 2 | 397 | 13825 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x275c
Ra Tables | Ra0 Table | Ra 13 | 10945 | 2^-10ohm | I | 2 | 399 | 18933 | 0 | 32767 | ddd | x | x |  |  | 2^-10ohm | 0x2ac1
Ra Tables | Ra0 Table | Ra 14 | 11590 | 2^-10ohm | I | 2 | 401 | 26303 | 0 | 26430 | ddd | x | x |  |  | 2^-10ohm | 0x2d46
EOSData | Values | R Data Seconds | 15 | Num | I | 2 | 597 | 15 | 0 | 5000 | ddd | x | x |  |  | Num | 0x000f
EOSData | Values | R Table Scale | -1 | Num | I | 2 | 599 | -1 | -1 | -1 | ddd | x | x |  |  | Num | 0xffff
EOSData | Values | New Batt R Scale Delay | 2 | Num | U | 1 | 601 | 2 | 0 | 255 | ddd | x | x |  |  | Num | 0x02
EOSData | Values | R Table Scale Update Flag | 0 | hex | U | 1 | 602 | ff | 0x00 | 0xff | hh | x | x |  |  | hex | 0x00
EOSData | Values | R Short Trend Filter | 251 | Num | U | 1 | 603 | 251 | 1 | 255 | ddd | x | x |  |  | Num | 0xfb
EOSData | Values | R Long Trend Filter | 253 | Num | U | 1 | 604 | 253 | 1 | 255 | ddd | x | x |  |  | Num | 0xfd
EOSData | Values | EOS Trend Detection % | 20 | Num | U | 1 | 605 | 20 | 1 | 100 | ddd | x | x |  |  | Num | 0x14
EOSData | Values | EOS Detection Pulse Count Thrshd | 2 | Num | U | 2 | 606 | 120 | 1 | 20000 | ddd | x | x |  |  | Num | 0x0002
EOSData | Values | Short Trend Average | 824777 | Num | U | 4 | 608 | 0 | 0 | 8355712 | ddd | x | x |  |  | Num | 0x000c95c9
EOSData | Values | Long Trend Average | 1035150 | Num | U | 4 | 612 | 0 | 0 | 8355712 | ddd | x | x |  |  | Num | 0x000fcb8e
EOSData | Values | EOS Trend Detection Pulse Counts | 0 | Num | U | 2 | 616 | 0 | 0 | 20000 | ddd | x | x |  |  | Num | 0x0000
EOSData | Values | EOS Not Detected Flag | ff | hex | U | 1 | 618 | ff | 0 | 0xff | hh | x | x |  |  | hex | 0xff
EOSData | Values | EOS SOH smooth Start Voltage | 3200 | mV | I | 2 | 619 | 2800 | 1 | 32767 | ddd | x | x |  |  | mV | 0x0c80
EOSData | Values | EOS SOH Smoothing Margin | 128 | Num | U | 1 | 621 | 128 | 1 | 255 | ddd | x | x |  |  | Num | 0x80
EOSData | Values | EOS Relax V Hi Max Counts | 10 | Num | U | 1 | 622 | 10 | 1 | 255 | ddd | x | x |  |  | Num | 0x0a
Security | Codes | Authen Key3 MSB | 123 | Hex | U | 2 | 444 | 123 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x0123
Security | Codes | Authen Key3 LSB | 4567 | Hex | U | 2 | 446 | 4567 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x4567
Security | Codes | Authen Key2 MSB | 89ab | Hex | U | 2 | 448 | 89ab | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x89ab
Security | Codes | Authen Key2 LSB | cdef | Hex | U | 2 | 450 | cdef | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0xcdef
Security | Codes | Authen Key1 MSB | fedc | Hex | U | 2 | 452 | fedc | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0xfedc
Security | Codes | Authen Key1 LSB | ba98 | Hex | U | 2 | 454 | ba98 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0xba98
Security | Codes | Authen Key0 MSB | 7654 | Hex | U | 2 | 456 | 7654 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x7654
Security | Codes | Authen Key0 LSB | 3210 | Hex | U | 2 | 458 | 3210 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x3210
Security | Codes | Unseal Step1 | 414 | Hex | U | 2 | 460 | 414 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x0414
Security | Codes | Unseal Step 2 | 3672 | Hex | U | 2 | 462 | 3672 | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0x3672
Security | Codes | FullUnseal Step 1 | ffff | Hex | U | 2 | 464 | ffff | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0xffff
Security | Codes | FullUnseal Step 2 | ffff | Hex | U | 2 | 466 | ffff | 0x0000 | 0xFFFF | hhhh | x | x |  |  | Hex | 0xffff