## Slide 1
1
2
3
4
5
6
7
8
OC_FAULT_LIMIT
Internal counter
Low/High side FET
ON
OFF
ON
Case 1
ON
OFF
ON
Case 2
OC_FAULT bit is set
(counter increments 7)
Wait 7 x tss
TPS544x20 Hiccup mode
[question]
When an over current events occurs and an internal counter increments 7, and then over current events remove at next switching timing, how TPS544x20 will react? Device will wait 7xtss then device resume normal operation or device does not wait 7xtss (case 1 above), device will resume normal operation immediately (case 2 above)?