## Slide 1: ADC32J25EVM Test

## Slide 2: ADC32J25 setup
Test conditions:
Fs = 160Msps sample CLK
If = 30MHz
After applying 5V to both boards, press ADC reset switch on ADC32J25EVM

## Slide 3: After GUI opens, select ADC32Jxx

## Slide 4: Go to low level view tab and load file called “ADC3xJxx_160MSPS_Operation_LMK_Setting.cfg” as shown below.

## Slide 5: 30MHz IF BP filter, CH1

## Slide 6: 30MHz IF BP filter, CH2