## Slide 2
Normal Working Waveforms
Requesting
Data
Configuring inputs
Initiating One-shot
START/SYNC
My Delay
(Shortened here to display all on screen.)

## Slide 3
Expanded View of the Data Request Section, Normal Working System Waveforms
Address
Request
Read Data Command is sent here

## Slide 4
Expanded View of Data Request Section Waveforms when it HANGS
(This locks up the I2C library)
Looks like the ADS is
is acknowledging
the address request
by pulling low on the
9nth bit of the SCL
45h Address
request
Address
request
Read Data
Command
should be sent here
Is the ADS holding
the bus low so that
the ucontroller cannot
send the Read Data
command?
?