## Sheet1
Respiration Simulator |  | INTERNAL MASTER CLOCK
3/1 Ratio |  |  |  | Notes:
40 Breaths / min |  |  |  | External RESP_MOD and Blocking Signals Synchronized
ΔΩ = 3Ω |  |  |  | GUI LPF Disabled
500Ω baseline |  |  |  |  | Noise Test: | Baseline Impedance (kΩ) | 1.814
ECG 60bpm |  |  |  |  | External RESP_MOD = 32 kHz | Series Impedance (kΩ) | 82.214
RLD sensing PGA1P, PGA1N |  |  |  |  | External blocking = 112.5 degrees | Vref (V) | 2.4
RESP output on Lead I |  |  |  |  | 2-Hz, 8th-order LPF | I_resp (µA) | 29.1921
[5 empty] | Gain = 4 | Noise (nVpp) | 567.876
Phase (Duty Cycle) | Internal RESP_MOD (64kHz) and Internal Blocking |  | External RESP_MOD (64kHz) and External Blocking |  | Internal master CLK | Noise (mΩpp) | 19.4531
[6 empty] | DC offset (mV) | 52.9545
22.5 (12.5%)
45 (25%)
67.5 (37.5%)
90 (50%)
112.5 (62.5%)
135 (75%)
157.5 (87.5%)