## Slide 1: ADS54J66 Test

## Slide 2: ADS54J66
Test Setup:
Single tone is given as input to the device.
Test conditions:
Fs = 300Msps External CLK @ 12dBm
IF = 665/670/675MHz
Bypass mode
LMFS = 4421

## Slide 3: On LMK04828 Clock Outputs tab, set CLK 0 divider to 2 and CLK 2 divider to 1. Make sure CLK 2 DCLK source is as shown below.

## Slide 4: Set SYSREF Divider = 768

## Slide 5: Press the ADS54J66EVM board reset then load the ADC config file shown below.

## Slide 6: CHA, Fin = 665MHz

## Slide 7: CHA, Fin = 670MHz

## Slide 8: CHA, Fin = 675MHz