Just got my evm, checked that all jumpers and switches set to defaults tried to duplicate the noise scope reading on page 1 of the ADS1263 datasheet.

Screen shots are attached, but ADC1 only, shorted input, 20Hz FIR,