## Slide 1: ADS54J66EVM Test with TSW14J10EVM and ZC706

## Slide 2
Test Setup:

## Slide 3
Hardware Setup:
Connect the three boards as shown in previous slide
Connect power to ZC706 and ADS54J66EVM
Connect a USB cable between TSW14J10EVM and a host PC.
Connect a mini-USB cable between J1 of the ZC706 and a host computer that has Vivado installed.
Provide a 70MHz, 18dBm tone through a bandpass filter to channel AIN SMA connector.

## Slide 4
Test Setup:
Single tone is given as input to the device. Data captured using HSDC Pro GUI
Test conditions:
LMK = Providing 491.52Msps Fs clock.
Fin = 70MHz
ADC using Mode 2, LPF with LMFS = 4421

## Slide 5: Open ADS54Jxx EVM GUI

## Slide 6: Click on “Low Level View” tab. Click on folder shown below to open configuration files to load.

## Slide 7: Press the ADC reset switch SW1. Click on “Low Level View” tab. Click on folder shown below to open configuration files to load.

## Slide 8: Navigate to “Bypass DDC Mode directory. Select “LMK_ADC32RF45_LMF_82820_ExtClock.cfg”

## Slide 9: Press board reset switch SW1. In Low Level View tab, navigate to Bypass DDc Mode directory and load file called ADC32RF4x_12bit_LMFS_82820.cfg”

## Slide 10: Click on the “LMK04828” tab then the “Clock Outputs” tab. Set the CLKout 0 and 1 DCLK Divider to “12” to provide a 245.76MHz REFCLK to the ZC706. Unselect “Group Powerdown for CLKout 12 and 13 and set the divider to 24 to provide a 122.88MHz CORECLK to the ZC706. Set the DCLK Type to “LVDS”, as shown below.

## Slide 11
Move the file called “TSW14J10_ZC706_2vp8.bit”, located at:
C:\Program Files(86)\Texas Instruments\High Speed Data Converter
Pro\14J10ZC706 Details\Firmware to C:\ on the host computer running Vivado.

## Slide 12: Open Vivado. Click on “Open Hardware Manager”.

## Slide 13: Click on “Open Target”.

## Slide 14: Select “Open New Target”.

## Slide 15: Click on “Next”.

## Slide 16: Click on “Finish”.

## Slide 17: Click on “Program device the select the device that opens as shown below”.

## Slide 18: Click on the Bitstream file navigation box and select the file called “C:\TSW14J10_ZC706_2vp8.bit” Click on “Program”

## Slide 19: A new window will open showing the status of the programming. Once this reaches 100%, the board is programmed and ready to be used with the HSDC Pro GUI

## Slide 20
Open HSDC Pro GUI.
Click on “OK” to connect to the ZC706

## Slide 21
Click on the device drop down arrow and select “ADS54J66_LMF_4421”.
Enter “245.76M” for the ADC Output Data rate. A new window will open showing the lane rate and REFCLK required by the ZC706.

## Slide 22
Click on the “Data Capture Options” tab at the top of the GUI, then select “Capture Option”. A new window opens. Set the # samples (per channel) to 32768, as shown below. This is the max sample size that can be used with 4 channels when using the ZC706.

## Slide 23: Click on “Capture”. The captured results of a 70MHz IF input at CHA is shown below.