## input
Method: | Column 1
Host Date-Time: | 3/11/21 @ 9:13:6
Header Version: | 1
System Temp (C): | 27.84
Detector Temp (C): | 24.79
Humidity (%): | 66.61
Lamp PD: | 3806
Shift Vector Coefficients: | -7.9835 | 0.050096 | -7.013e-05
Pixel to Wavelength Coefficients: | 1792.23 | -0.92492 | -0.00023108
Serial Number: | 6100208
Scan Config Name: | Column 1
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 7.03
Exposure (ms): | 0.635
Digital Resolution: | 228
Num Repeats: | 10
PGA Gain: | 64
Total Measurement Time in sec: | 3.528
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.1648 | 0.1535 | 44288 | 31102
905.0501 | 0.15419 | 53470 | 37490
908.9313 | 0.15434 | 60008 | 42060
912.8084 | 0.15919 | 65164 | 45167
917.9713 | 0.15642 | 71850 | 50120
921.8386 | 0.16243 | 78522 | 54021
925.7018 | 0.15842 | 86241 | 59882
929.5608 | 0.15643 | 96498 | 67311
933.4157 | 0.15953 | 108797 | 75351
937.2663 | 0.15931 | 122492 | 84878
941.1129 | 0.1581 | 135829 | 94383
944.9553 | 0.15865 | 148113 | 102787
948.7935 | 0.15674 | 159082 | 110886
953.9046 | 0.15755 | 173066 | 120410
957.7331 | 0.15747 | 183068 | 127393
961.5575 | 0.15763 | 193309 | 134469
965.3777 | 0.1571 | 203458 | 141702
969.1937 | 0.15974 | 214737 | 148650
973.0056 | 0.1592 | 225421 | 156241
976.8133 | 0.16051 | 236740 | 163592
980.6169 | 0.1613 | 247768 | 170903
984.4162 | 0.16127 | 258172 | 178091
989.4756 | 0.16118 | 270703 | 186771
993.2653 | 0.16242 | 279908 | 192573
997.0509 | 0.16273 | 287345 | 197546
1000.8322 | 0.16206 | 293850 | 202335
1004.6094 | 0.16241 | 299629 | 206147
1008.3825 | 0.16346 | 304468 | 208970
1012.1514 | 0.16341 | 308195 | 211550
1015.9161 | 0.1632 | 310829 | 213460
1019.6767 | 0.16375 | 313510 | 215030
1024.6843 | 0.16422 | 315415 | 216103
1028.4352 | 0.16362 | 316280 | 216997
1032.1819 | 0.16373 | 317386 | 217701
1035.9244 | 0.16273 | 317588 | 218338
1039.6628 | 0.16279 | 317402 | 218183
1043.397 | 0.16226 | 317064 | 218215
1047.1271 | 0.1614 | 316151 | 218020
1050.853 | 0.16151 | 315259 | 217347
1054.5748 | 0.16042 | 314265 | 217207
1059.5306 | 0.15947 | 312971 | 216788
1063.2427 | 0.15897 | 312164 | 216478
1066.9506 | 0.15864 | 311816 | 216402
1070.6543 | 0.15789 | 311493 | 216548
1074.3538 | 0.15768 | 311415 | 216600
1078.0492 | 0.15656 | 311577 | 217274
1081.7405 | 0.15651 | 311982 | 217582
1085.4276 | 0.15547 | 312712 | 218612
1089.1105 | 0.15529 | 313017 | 218914
1094.0146 | 0.15431 | 313813 | 219968
1097.6878 | 0.1549 | 314773 | 220344
1101.3569 | 0.15505 | 315837 | 221010
1105.0218 | 0.15544 | 316979 | 221612
1108.6825 | 0.15476 | 317591 | 222388
1112.3391 | 0.15577 | 318281 | 222353
1115.9915 | 0.15627 | 319016 | 222608
1119.6398 | 0.15662 | 319458 | 222739
1123.2839 | 0.15774 | 319981 | 222528
1128.1362 | 0.15865 | 319965 | 222052
1131.7706 | 0.16185 | 320246 | 220612
1135.4009 | 0.16455 | 320292 | 219279
1139.027 | 0.16802 | 320581 | 217732
1142.6489 | 0.172 | 320313 | 215563
1146.2666 | 0.1769 | 320416 | 213214
1149.8802 | 0.18112 | 320824 | 211419
1153.4897 | 0.18739 | 321129 | 208586
1157.095 | 0.19239 | 321065 | 206161
1160.6961 | 0.19771 | 321627 | 204007
1165.4911 | 0.2046 | 322384 | 201268
1169.0825 | 0.20902 | 323403 | 199859
1172.6698 | 0.21238 | 324115 | 198755
1176.2529 | 0.21432 | 324987 | 198400
1179.8318 | 0.21754 | 326149 | 197639
1183.4066 | 0.22089 | 328013 | 197244
1186.9772 | 0.22433 | 330345 | 197078
1190.5437 | 0.22707 | 332267 | 196978
1194.106 | 0.23041 | 335093 | 197132
1198.8493 | 0.23204 | 339053 | 198714
1202.4019 | 0.2331 | 342299 | 200126
1205.9503 | 0.23381 | 345370 | 201593
1209.4946 | 0.23287 | 349344 | 204355
1213.0347 | 0.23252 | 353465 | 206932
1216.5706 | 0.22947 | 357640 | 210851
1220.1024 | 0.22592 | 361964 | 215152
1223.6301 | 0.22079 | 367342 | 220941
1227.1536 | 0.21587 | 372176 | 226402
1231.8451 | 0.20842 | 378198 | 234043
1235.3588 | 0.20529 | 383302 | 238918
1238.8684 | 0.20166 | 388913 | 244450
1242.3739 | 0.19923 | 393922 | 248987
1245.8752 | 0.19677 | 398402 | 253250
1249.3723 | 0.1941 | 402341 | 257334
1252.8653 | 0.19265 | 406469 | 260845
1256.3541 | 0.19113 | 409609 | 263779
1259.8388 | 0.18938 | 412603 | 266780
1264.4785 | 0.18886 | 419694 | 271690
1267.9535 | 0.18849 | 427106 | 276726
1271.4243 | 0.18787 | 436032 | 282912
1274.8909 | 0.18777 | 444980 | 288784
1278.3534 | 0.18733 | 453480 | 294598
1281.8117 | 0.18687 | 462363 | 300684
1285.2658 | 0.18628 | 470233 | 306219
1288.7158 | 0.18523 | 477589 | 311766
1292.1617 | 0.18524 | 485029 | 316616
1296.7496 | 0.18493 | 493262 | 322215
1300.1858 | 0.18446 | 499013 | 326324
1303.6177 | 0.1851 | 504508 | 329431
1307.0455 | 0.18523 | 509452 | 332565
1310.4692 | 0.18577 | 513605 | 334853
1313.8887 | 0.18657 | 517827 | 336985
1317.304 | 0.18777 | 521783 | 338623
1320.7152 | 0.1891 | 525150 | 339768
1324.1222 | 0.19049 | 528181 | 340637
1328.6584 | 0.19305 | 532179 | 341201
1332.0557 | 0.19578 | 534148 | 340319
1335.4489 | 0.1983 | 536624 | 339917
1338.8378 | 0.20013 | 538540 | 339691
1342.2227 | 0.20395 | 540553 | 337978
1345.6033 | 0.20689 | 540920 | 335922
1348.9799 | 0.2103 | 541400 | 333594
1352.3522 | 0.21464 | 541647 | 330431
1355.7204 | 0.21899 | 540862 | 326661
1360.2048 | 0.22384 | 538906 | 321868
1363.5633 | 0.22713 | 537862 | 318818
1366.9177 | 0.23113 | 536772 | 315251
1370.2678 | 0.23549 | 535667 | 311462
1373.6138 | 0.23968 | 533106 | 306998
1376.9557 | 0.24364 | 529774 | 302310
1380.2934 | 0.24945 | 525331 | 295790
1383.6269 | 0.255 | 520331 | 289256
1386.9562 | 0.2614 | 515629 | 282450
1391.3889 | 0.27181 | 511888 | 273755
1394.7086 | 0.27939 | 510359 | 268215
1398.0241 | 0.28726 | 509058 | 262731
1401.3354 | 0.29656 | 509356 | 257314
1404.6426 | 0.30544 | 510238 | 252544
1407.9456 | 0.31453 | 511028 | 247694
1411.2445 | 0.32558 | 512195 | 242025
1414.5392 | 0.33488 | 513082 | 237307
1417.8298 | 0.34384 | 514595 | 233146
1422.2107 | 0.35581 | 516470 | 227634
1425.4915 | 0.3627 | 517725 | 224592
1428.7682 | 0.36904 | 519306 | 222015
1432.0407 | 0.37511 | 521223 | 219740
1435.3091 | 0.38097 | 522876 | 217486
1438.5733 | 0.38473 | 524730 | 216375
1441.8333 | 0.3891 | 526250 | 214827
1445.0892 | 0.39149 | 527703 | 214240
1448.3409 | 0.3946 | 529565 | 213460
1452.6701 | 0.39638 | 530639 | 213019
1455.9121 | 0.39821 | 531409 | 212432
1459.15 | 0.39925 | 531597 | 211999
1462.3837 | 0.4012 | 531543 | 211025
1465.6132 | 0.40159 | 531241 | 210717
1468.8386 | 0.40238 | 530513 | 210045
1472.0598 | 0.40247 | 529506 | 209607
1475.2769 | 0.40262 | 528357 | 209079
1478.4898 | 0.40218 | 527166 | 208819
1482.7672 | 0.4016 | 525415 | 208400
1485.9704 | 0.40131 | 523901 | 207939
1489.1694 | 0.40087 | 522074 | 207423
1492.3643 | 0.4001 | 519839 | 206905
1495.555 | 0.40052 | 517723 | 205864
1498.7415 | 0.39926 | 515704 | 205654
1501.9239 | 0.399 | 512807 | 204622
1505.1022 | 0.39762 | 509899 | 204108
1508.2763 | 0.39604 | 506680 | 203563
1512.5019 | 0.3936 | 502410 | 202984
1515.6663 | 0.39207 | 498893 | 202271
1518.8265 | 0.39072 | 495744 | 201622
1521.9825 | 0.38911 | 491774 | 200752
1525.1344 | 0.3874 | 487676 | 199864
1528.2822 | 0.3853 | 483735 | 199208
1531.4257 | 0.38301 | 479517 | 198517
1534.5652 | 0.38161 | 475167 | 197349
1537.7004 | 0.38046 | 470091 | 195757
1541.8743 | 0.38065 | 463497 | 192931
1544.9998 | 0.37609 | 458143 | 192714
1548.1212 | 0.3754 | 452818 | 190774
1551.2385 | 0.37258 | 447024 | 189563
1554.3515 | 0.37134 | 441259 | 187654
1557.4604 | 0.36905 | 435201 | 186053
1560.5652 | 0.36825 | 428853 | 183678
1563.6658 | 0.36772 | 422761 | 181291
1566.7622 | 0.36639 | 415754 | 178833
1570.8843 | 0.36578 | 407121 | 175365
1573.9711 | 0.36502 | 400575 | 172848
1577.0536 | 0.36337 | 393502 | 170443
1580.132 | 0.3621 | 386265 | 167798
1583.2063 | 0.36136 | 379987 | 165350
1586.2764 | 0.35958 | 373128 | 163032
1589.3423 | 0.35729 | 365794 | 160673
1592.4041 | 0.35717 | 358467 | 157501
1595.4617 | 0.35463 | 351368 | 155285
1599.532 | 0.35154 | 341715 | 152098
1602.5799 | 0.35079 | 334331 | 149070
1605.6237 | 0.34725 | 326785 | 146898
1608.6633 | 0.34599 | 319873 | 144208
1611.6987 | 0.3458 | 312556 | 140971
1614.73 | 0.34355 | 304837 | 138203
1617.7571 | 0.34144 | 297208 | 135401
1620.78 | 0.34001 | 290392 | 132732
1623.7988 | 0.33827 | 282342 | 129571
1626.8135 | 0.33844 | 275475 | 126368
1630.8265 | 0.33422 | 265631 | 123042
1633.8314 | 0.33302 | 258356 | 120004
1636.8322 | 0.33139 | 251460 | 117242
1639.8288 | 0.33183 | 244149 | 113717
1642.8212 | 0.33068 | 236903 | 110634
1645.8095 | 0.32854 | 229603 | 107754
1648.7936 | 0.3288 | 222507 | 104362
1651.7736 | 0.32893 | 214769 | 100703
1654.7494 | 0.328 | 206670 | 97114
1658.7107 | 0.33082 | 195461 | 91251
1661.6768 | 0.33022 | 185523 | 86731
1664.6387 | 0.33314 | 174783 | 81163
1667.5965 | 0.33357 | 161766 | 75045
1670.5501 | 0.33392 | 147606 | 68420
1673.4996 | 0.33581 | 131726 | 60794
1676.4449 | 0.33761 | 115552 | 53109
1679.3861 | 0.342 | 99479 | 45262
1682.323 | 0.34638 | 84403 | 38017
1686.2326 | 0.34974 | 67359 | 30106
1689.1598 | 0.36163 | 57011 | 24793
1692.083 | 0.36547 | 48289 | 20815
1695.0019 | 0.36805 | 41032 | 17582
1697.9167 | 0.37631 | 35221 | 14808
1700.8274 | 0.37403 | 29777 | 12585