## input
Method: | Hadamard 1
Host Date-Time: | 3/11/21 @ 9:19:13
Header Version: | 1
System Temp (C): | 28.88
Detector Temp (C): | 27.18
Humidity (%): | 63.4
Lamp PD: | 3804
Shift Vector Coefficients: | -7.9835 | 0.050096 | -7.013e-05
Pixel to Wavelength Coefficients: | 1792.23 | -0.92492 | -0.00023108
Serial Number: | 6100208
Scan Config Name: | Hadamard 1
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 7.03
Exposure (ms): | 0.635
Digital Resolution: | 228
Num Repeats: | 10
PGA Gain: | 32
Total Measurement Time in sec: | 3.54
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.1648 | 0.17754 | 23040 | 15309
905.0501 | 0.16124 | 27072 | 18676
908.9313 | 0.17292 | 30626 | 20567
912.8084 | 0.15856 | 32462 | 22533
917.9713 | 0.16993 | 35994 | 24339
921.8386 | 0.16794 | 39338 | 26722
925.7018 | 0.17298 | 44046 | 29575
929.5608 | 0.16306 | 48260 | 33153
933.4157 | 0.16857 | 54310 | 36839
937.2663 | 0.17163 | 61558 | 41462
941.1129 | 0.16463 | 67934 | 46500
944.9553 | 0.16458 | 73704 | 50456
948.7935 | 0.16047 | 78982 | 54583
953.9046 | 0.16776 | 85996 | 58441
957.7331 | 0.16302 | 91664 | 62976
961.5575 | 0.16048 | 96048 | 66376
965.3777 | 0.16465 | 101662 | 69584
969.1937 | 0.16412 | 106670 | 73100
973.0056 | 0.16926 | 113652 | 76969
976.8133 | 0.16218 | 118308 | 81439
980.6169 | 0.16697 | 123832 | 84307
984.4162 | 0.16962 | 129368 | 87539
989.4756 | 0.16411 | 135564 | 92904
993.2653 | 0.16889 | 139996 | 94892
997.0509 | 0.16594 | 143502 | 97931
1000.8322 | 0.1688 | 146980 | 99646
1004.6094 | 0.16858 | 149792 | 101603
1008.3825 | 0.16686 | 152172 | 103628
1012.1514 | 0.16922 | 153846 | 104199
1015.9161 | 0.16883 | 155376 | 105331
1019.6767 | 0.16967 | 157086 | 106284
1024.6843 | 0.16598 | 157272 | 107317
1028.4352 | 0.1676 | 157836 | 107301
1032.1819 | 0.17012 | 159090 | 107529
1035.9244 | 0.16476 | 158602 | 108531
1039.6628 | 0.1672 | 158508 | 107857
1043.397 | 0.16618 | 158640 | 108202
1047.1271 | 0.16619 | 157390 | 107346
1050.853 | 0.16587 | 157226 | 107313
1054.5748 | 0.16577 | 157098 | 107250
1059.5306 | 0.16455 | 156294 | 107003
1063.2427 | 0.16406 | 155790 | 106777
1066.9506 | 0.16504 | 156140 | 106776
1070.6543 | 0.15949 | 155654 | 107813
1074.3538 | 0.16145 | 155254 | 107051
1078.0492 | 0.16417 | 156294 | 107097
1081.7405 | 0.15816 | 155888 | 108306
1085.4276 | 0.16104 | 156062 | 107710
1089.1105 | 0.15938 | 156624 | 108511
1094.0146 | 0.1605 | 157084 | 108551
1097.6878 | 0.16014 | 157218 | 108734
1101.3569 | 0.15829 | 157528 | 109414
1105.0218 | 0.16143 | 157666 | 108721
1108.6825 | 0.16064 | 158184 | 109275
1112.3391 | 0.15859 | 158744 | 110181
1115.9915 | 0.16187 | 159044 | 109560
1119.6398 | 0.16221 | 159444 | 109748
1123.2839 | 0.16128 | 159666 | 110136
1128.1362 | 0.16419 | 160202 | 109768
1131.7706 | 0.16629 | 159750 | 108930
1135.4009 | 0.16997 | 160270 | 108364
1139.027 | 0.17318 | 160212 | 107527
1142.6489 | 0.17787 | 160370 | 106477
1146.2666 | 0.17963 | 159778 | 105654
1149.8802 | 0.1892 | 160332 | 103710
1153.4897 | 0.19192 | 160426 | 103123
1157.095 | 0.19663 | 160634 | 102143
1160.6961 | 0.20391 | 160776 | 100533
1165.4911 | 0.20946 | 161074 | 99440
1169.0825 | 0.21465 | 161976 | 98810
1172.6698 | 0.21509 | 161856 | 98636
1176.2529 | 0.21895 | 162084 | 97902
1179.8318 | 0.22439 | 163734 | 97667
1183.4066 | 0.22362 | 164332 | 98198
1186.9772 | 0.23021 | 164828 | 97012
1190.5437 | 0.23199 | 166038 | 97324
1194.106 | 0.23565 | 167798 | 97529
1198.8493 | 0.23654 | 169728 | 98449
1202.4019 | 0.23819 | 171112 | 98876
1205.9503 | 0.23806 | 173110 | 100061
1209.4946 | 0.23828 | 175014 | 101109
1213.0347 | 0.23466 | 176088 | 102581
1216.5706 | 0.23667 | 178774 | 103665
1220.1024 | 0.23001 | 181324 | 106768
1223.6301 | 0.22356 | 183226 | 109503
1227.1536 | 0.22105 | 185244 | 111351
1231.8451 | 0.21352 | 188906 | 115538
1235.3588 | 0.20947 | 191910 | 118476
1238.8684 | 0.20574 | 193530 | 120507
1242.3739 | 0.20366 | 196494 | 122940
1245.8752 | 0.20021 | 199118 | 125575
1249.3723 | 0.19937 | 201708 | 127453
1252.8653 | 0.19739 | 203552 | 129208
1256.3541 | 0.19402 | 204706 | 130952
1259.8388 | 0.19601 | 206378 | 131419
1264.4785 | 0.19308 | 210348 | 134852
1267.9535 | 0.19106 | 213458 | 137485
1271.4243 | 0.19452 | 218236 | 139445
1274.8909 | 0.19254 | 222664 | 142925
1278.3534 | 0.1936 | 227606 | 145740
1281.8117 | 0.18906 | 231158 | 149573
1285.2658 | 0.19092 | 234862 | 151320
1288.7158 | 0.19123 | 239510 | 154202
1292.1617 | 0.1882 | 241996 | 156894
1296.7496 | 0.18941 | 246026 | 159065
1300.1858 | 0.18837 | 249224 | 161518
1303.6177 | 0.18963 | 251780 | 162701
1307.0455 | 0.19013 | 254178 | 164061
1310.4692 | 0.18922 | 256638 | 165998
1313.8887 | 0.19184 | 258808 | 166394
1317.304 | 0.19283 | 260894 | 167352
1320.7152 | 0.19255 | 262348 | 168394
1324.1222 | 0.19528 | 264390 | 168640
1328.6584 | 0.19775 | 266008 | 168712
1332.0557 | 0.19812 | 266974 | 169180
1335.4489 | 0.2035 | 268192 | 167861
1338.8378 | 0.20513 | 269100 | 167797
1342.2227 | 0.20788 | 270190 | 167411
1345.6033 | 0.21147 | 270154 | 166014
1348.9799 | 0.21517 | 270874 | 165043
1352.3522 | 0.22037 | 271326 | 163351
1355.7204 | 0.22214 | 270620 | 162262
1360.2048 | 0.22982 | 270032 | 159071
1363.5633 | 0.23333 | 269882 | 157703
1366.9177 | 0.23722 | 269494 | 156072
1370.2678 | 0.24134 | 268552 | 154059
1373.6138 | 0.24388 | 266936 | 152241
1376.9557 | 0.24942 | 264986 | 149213
1380.2934 | 0.25468 | 262986 | 146303
1383.6269 | 0.26145 | 261080 | 142996
1386.9562 | 0.26666 | 258622 | 139960
1391.3889 | 0.27729 | 256488 | 135449
1394.7086 | 0.28419 | 256138 | 133132
1398.0241 | 0.29127 | 254696 | 130241
1401.3354 | 0.30051 | 254988 | 127647
1404.6426 | 0.30858 | 255410 | 125504
1407.9456 | 0.32062 | 255958 | 122335
1411.2445 | 0.32956 | 255750 | 119745
1414.5392 | 0.33771 | 256172 | 117712
1417.8298 | 0.34942 | 257214 | 115047
1422.2107 | 0.35846 | 258046 | 113042
1425.4915 | 0.36676 | 259482 | 111518
1428.7682 | 0.37229 | 259420 | 110082
1432.0407 | 0.37922 | 259954 | 108563
1435.3091 | 0.38539 | 262228 | 107967
1438.5733 | 0.38684 | 262446 | 107695
1441.8333 | 0.39237 | 263160 | 106624
1445.0892 | 0.39376 | 264318 | 106751
1448.3409 | 0.39828 | 264708 | 105801
1452.6701 | 0.40044 | 265428 | 105562
1455.9121 | 0.40352 | 266226 | 105130
1459.15 | 0.40108 | 265890 | 105591
1462.3837 | 0.40484 | 265878 | 104674
1465.6132 | 0.40406 | 265424 | 104683
1468.8386 | 0.40501 | 265464 | 104472
1472.0598 | 0.40585 | 264750 | 103988
1475.2769 | 0.40417 | 264366 | 104241
1478.4898 | 0.40672 | 263460 | 103275
1482.7672 | 0.40531 | 262574 | 103262
1485.9704 | 0.40558 | 262702 | 103248
1489.1694 | 0.40325 | 261146 | 103189
1492.3643 | 0.40487 | 259760 | 102260
1495.555 | 0.40368 | 258460 | 102027
1498.7415 | 0.40232 | 257456 | 101950
1501.9239 | 0.40159 | 255958 | 101526
1505.1022 | 0.39862 | 254404 | 101603
1508.2763 | 0.40142 | 252880 | 100344
1512.5019 | 0.39723 | 251072 | 100593
1515.6663 | 0.39602 | 249794 | 100360
1518.8265 | 0.39234 | 247378 | 100235
1521.9825 | 0.39211 | 245574 | 99557
1525.1344 | 0.38882 | 243870 | 99617
1528.2822 | 0.38882 | 242580 | 99091
1531.4257 | 0.38701 | 239840 | 98381
1534.5652 | 0.38614 | 238564 | 98055
1537.7004 | 0.3824 | 235352 | 97571
1541.8743 | 0.38138 | 231954 | 96387
1544.9998 | 0.37825 | 229868 | 96211
1548.1212 | 0.3802 | 227216 | 94676
1551.2385 | 0.37602 | 224534 | 94464
1554.3515 | 0.37644 | 221330 | 93025
1557.4604 | 0.37161 | 217890 | 92603
1560.5652 | 0.37282 | 214668 | 90981
1563.6658 | 0.36939 | 211232 | 90234
1566.7622 | 0.36993 | 208364 | 88899
1570.8843 | 0.36876 | 203258 | 86954
1573.9711 | 0.36762 | 200070 | 85814
1577.0536 | 0.36715 | 196660 | 84444
1580.132 | 0.36548 | 193508 | 83411
1583.2063 | 0.36658 | 189838 | 81621
1586.2764 | 0.36163 | 186294 | 81015
1589.3423 | 0.36259 | 182964 | 79391
1592.4041 | 0.36338 | 179870 | 77907
1595.4617 | 0.35334 | 175732 | 77895
1599.532 | 0.35628 | 170832 | 75213
1602.5799 | 0.35212 | 166558 | 74036
1605.6237 | 0.35208 | 163520 | 72692
1608.6633 | 0.34974 | 159808 | 71427
1611.6987 | 0.3455 | 155836 | 70334
1614.73 | 0.34967 | 152624 | 68227
1617.7571 | 0.34532 | 148604 | 67098
1620.78 | 0.34157 | 144756 | 65927
1623.7988 | 0.34157 | 141528 | 64458
1626.8135 | 0.33979 | 137870 | 63049
1630.8265 | 0.33943 | 132904 | 60828
1633.8314 | 0.33567 | 129798 | 59923
1636.8322 | 0.33499 | 125894 | 58212
1639.8288 | 0.33703 | 123008 | 56612
1642.8212 | 0.32992 | 118684 | 55523
1645.8095 | 0.33358 | 115202 | 53442
1648.7936 | 0.32628 | 110856 | 52297
1651.7736 | 0.33671 | 107286 | 49412
1654.7494 | 0.32933 | 104028 | 48733
1658.7107 | 0.33382 | 98204 | 45531
1661.6768 | 0.32272 | 92924 | 44198
1664.6387 | 0.32696 | 86904 | 40934
1667.5965 | 0.32138 | 80424 | 38371
1670.5501 | 0.3241 | 72840 | 34536
1673.4996 | 0.31751 | 64828 | 31207
1676.4449 | 0.31693 | 56796 | 27377
1679.3861 | 0.31275 | 48746 | 23724
1682.323 | 0.31498 | 41440 | 20065
1686.2326 | 0.31448 | 32462 | 15736
1689.1598 | 0.33374 | 27898 | 12937
1692.083 | 0.33221 | 23732 | 11044
1695.0019 | 0.34832 | 20492 | 9189
1697.9167 | 0.32547 | 17288 | 8171
1700.8274 | 0.35602 | 14814 | 6526