## input
Method: | C
Host Date-Time: | 12/7/22 @ 9:12:56
Header Version: | 1
System Temp (C): | 34.61
Detector Temp (C): | 32.47
Humidity (%): | 45.52
Lamp PD: | 71
Shift Vector Coefficients: | -2.7491 | 0.027816 | -6.8173e-05
Pixel to Wavelength Coefficients: | 1790.15 | -0.93134 | -0.00024131
Serial Number: | 736F005
Scan Config Name: | C
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 2.34
Exposure (ms): | 1.27
Digital Resolution: | 400
Num Repeats: | 1
PGA Gain: | 1
Total Measurement Time in sec: | 1.793
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.8175 | -0.000162 | 13385 | 13390
903.1306 | -0.000379 | 13745 | 13757
905.7554 | 0.000752 | 14460 | 14435
908.3782 | 0.000772 | 15212 | 15185
910.999 | 0.000272 | 15989 | 15979
912.3088 | 2.6e-05 | 16414 | 16413
914.9267 | -0.000251 | 17295 | 17305
917.5428 | 0.000262 | 18274 | 18263
920.1569 | -0.000112 | 19362 | 19367
921.4632 | 0.000152 | 19949 | 19942
924.0745 | -0.000122 | 21311 | 21317
926.6838 | 0.000171 | 22821 | 22812
929.2911 | 0.000106 | 24472 | 24466
930.5941 | 0.000206 | 25317 | 25305
933.1986 | 0.000193 | 27076 | 27064
935.8011 | 0.000333 | 28743 | 28721
938.4017 | 0.000329 | 30354 | 30331
939.7013 | 0.000168 | 31084 | 31072
942.299 | -0.00012 | 32458 | 32467
944.8948 | -0.000181 | 33665 | 33679
947.4886 | 0.000162 | 34840 | 34827
948.7848 | 0.000405 | 35391 | 35358
951.3758 | -0.000132 | 36282 | 36293
953.9648 | 5.9e-05 | 37064 | 37059
956.5519 | 1.1e-05 | 37826 | 37825
957.8447 | -3.4e-05 | 38185 | 38188
960.4289 | 6.7e-05 | 38857 | 38851
963.0112 | 0 | 39505 | 39505
965.5915 | 0.000162 | 40121 | 40106
966.8809 | -7.5e-05 | 40359 | 40366
969.4584 | -0.000159 | 40860 | 40875
972.0339 | 0.000147 | 41414 | 41400
974.6075 | -0.000166 | 41904 | 41920
975.8935 | 7.2e-05 | 42171 | 42164
978.4642 | -0.000102 | 42756 | 42766
981.033 | -0.00012 | 43286 | 43298
983.5998 | -6.9e-05 | 43780 | 43787
984.8825 | 3.9e-05 | 44058 | 44054
987.4464 | 0.000156 | 44682 | 44666
990.0084 | 0.000125 | 45283 | 45270
992.5685 | -0.000142 | 45884 | 45899
993.8478 | -2.8e-05 | 46223 | 46226
996.405 | -0.00013 | 46869 | 46883
998.9602 | 0.000119 | 47424 | 47411
1001.5135 | -0.000126 | 48113 | 48127
1002.7894 | -5.4e-05 | 48433 | 48439
1005.3399 | -0.000133 | 49009 | 49024
1007.8883 | 2.6e-05 | 49646 | 49643
1010.4349 | 0.000156 | 50208 | 50190
1011.7074 | 9e-06 | 50535 | 50534
1014.2511 | 3.4e-05 | 51050 | 51046
1016.7928 | 0.000168 | 51585 | 51565
1019.3326 | 3.3e-05 | 52070 | 52066
1020.6018 | -0.000191 | 52312 | 52335
1023.1387 | -0.000198 | 52729 | 52753
1025.6737 | 4.9e-05 | 53005 | 52999
1028.2067 | 0.000302 | 53249 | 53212
1029.4725 | -0.000139 | 53252 | 53269
1032.0026 | 5.7e-05 | 53478 | 53471
1034.5309 | -5.7e-05 | 53627 | 53634
1037.0571 | -1.6e-05 | 53903 | 53905
1038.3196 | 0.0152 | 54049 | 52190
1040.8429 | 4e-05 | 54404 | 54399
1043.3644 | 3.2e-05 | 54715 | 54711
1045.8839 | 4.8e-05 | 54812 | 54806
1047.143 | -2.4e-05 | 54811 | 54814
1049.6596 | 0 | 55005 | 55005
1052.1743 | -2.4e-05 | 54867 | 54870
1054.6871 | 0.000103 | 54635 | 54622
1055.9427 | -5.6e-05 | 54509 | 54516
1058.4526 | 3.2e-05 | 54286 | 54282
1060.9606 | 1.6e-05 | 53981 | 53979
1063.4666 | 7.3e-05 | 53697 | 53688
1064.7188 | 7.3e-05 | 53483 | 53474
1067.222 | 9e-05 | 53079 | 53068
1069.7232 | 0.000156 | 52841 | 52822
1072.2224 | 0.000231 | 52631 | 52603
1073.4713 | -8.3e-05 | 52400 | 52410
1075.9677 | 7.5e-05 | 51995 | 51986
1078.4621 | 0.000117 | 51847 | 51833
1080.9546 | 0.000177 | 51569 | 51548
1082.2001 | 0.000101 | 51441 | 51429
1084.6897 | 5.9e-05 | 51305 | 51298
1087.1774 | -8.5e-05 | 51118 | 51128
1089.6632 | 9.4e-05 | 50991 | 50980
1090.9053 | -8.5e-05 | 50837 | 50847
1093.3881 | -2.6e-05 | 50809 | 50812
1095.8691 | -3.4e-05 | 50851 | 50855
1098.348 | 0.000103 | 50839 | 50827
1099.5868 | -0.000128 | 50925 | 50940
1102.0629 | -9e-06 | 50958 | 50959
1104.5371 | 0.000119 | 51095 | 51081
1107.0093 | 0.000119 | 51153 | 51139
1108.2447 | 0.000178 | 51271 | 51250
1110.714 | 8e-06 | 51465 | 51464
1113.1814 | 0 | 51696 | 51696
1115.6469 | 0.000184 | 51912 | 51890
1116.8789 | -0.00015 | 52000 | 52018
1119.3415 | 5e-05 | 52287 | 52281
1121.8021 | -8e-06 | 52442 | 52443
1124.2609 | -0.000148 | 52794 | 52812
1125.4895 | -0.000148 | 52885 | 52903
1127.9453 | -0.000114 | 53165 | 53179
1130.3992 | -8.9e-05 | 53509 | 53520
1132.8512 | -8e-06 | 53881 | 53882
1134.0764 | -1.6e-05 | 54109 | 54111
1136.5255 | -6.4e-05 | 54213 | 54221
1138.9726 | 0.000191 | 54604 | 54580
1141.4178 | 0.000317 | 54816 | 54776
1142.6397 | 0.000111 | 54954 | 54940
1145.082 | 0.000134 | 55270 | 55253
1147.5224 | 0.000102 | 55608 | 55595
1149.9608 | -6.2e-05 | 55834 | 55842
1151.1793 | 3.1e-05 | 55947 | 55943
1153.6149 | -4.6e-05 | 56254 | 56260
1156.0485 | 4.6e-05 | 56512 | 56506
1158.4802 | 0.000184 | 56704 | 56680
1159.6953 | 6.1e-05 | 56830 | 56822
1162.1241 | -4.6e-05 | 57024 | 57030
1164.551 | -5.3e-05 | 57187 | 57194
1166.9759 | -0.000136 | 57328 | 57346
1168.1876 | 7.6e-05 | 57423 | 57413
1170.6097 | -3.8e-05 | 57615 | 57620
1173.0298 | 0.000346 | 57755 | 57709
1175.448 | 0.000165 | 57990 | 57968
1176.6563 | -2.2e-05 | 58097 | 58100
1179.0716 | -4.5e-05 | 58130 | 58136
1181.485 | 0.000171 | 58302 | 58279
1183.8964 | 0.000208 | 58506 | 58478
1185.1014 | 5.9e-05 | 58587 | 58579
1187.5099 | 2.2e-05 | 58718 | 58715
1189.9165 | -5.2e-05 | 58948 | 58955
1192.3212 | 0.000103 | 59246 | 59232
1193.5228 | 1.5e-05 | 59322 | 59320
1195.9245 | 5.1e-05 | 59387 | 59380
1198.3244 | 5.1e-05 | 59635 | 59628
1200.7223 | 3.6e-05 | 59837 | 59832
1201.9205 | 5.1e-05 | 59865 | 59858
1204.3155 | -0.000108 | 60085 | 60100
1206.7086 | 0.000101 | 60360 | 60346
1209.0997 | 5.7e-05 | 60466 | 60458
1210.2946 | 3.6e-05 | 60590 | 60585
1212.6829 | -7.9e-05 | 60732 | 60743
1215.0692 | 5e-05 | 60988 | 60981
1217.4536 | -7.1e-05 | 61170 | 61180
1218.645 | 0.000142 | 61341 | 61321
1221.0265 | 7.7e-05 | 61726 | 61715
1223.4061 | 0.00014 | 61955 | 61935
1225.7837 | 0 | 62299 | 62299
1226.9718 | 5.6e-05 | 62504 | 62496
1229.3466 | -7.6e-05 | 62894 | 62905
1231.7194 | 4.1e-05 | 63176 | 63170
1234.0903 | 0.015429 | 63576 | 61357
1235.275 | 4.8e-05 | 63726 | 63719
1237.643 | 2e-05 | 63970 | 63967
1240.009 | 0.000304 | 64248 | 64203
1242.3732 | -5.4e-05 | 64601 | 64609
1243.5545 | -0.000141 | 64779 | 64800
1245.9157 | -8e-05 | 65124 | 65136
1248.275 | 0.000119 | 65457 | 65439
1250.6324 | -5.9e-05 | 65832 | 65841
1251.8103 | -7e-06 | 65938 | 65939
1254.1648 | -7.2e-05 | 66294 | 66305
1256.5174 | 5.9e-05 | 66737 | 66728
1258.868 | 0.000188 | 67018 | 66989
1260.0426 | 9.1e-05 | 67180 | 67166
1262.3903 | 3.9e-05 | 67572 | 67566
1264.7361 | 0.00014 | 68070 | 68048
1267.0799 | 0.000102 | 68288 | 68272
1268.2511 | -0.000159 | 68461 | 68486
1270.5921 | 0 | 68656 | 68656
1272.9311 | 5.1e-05 | 68518 | 68510
1275.2682 | -7.6e-05 | 68546 | 68558
1276.436 | 7e-05 | 68627 | 68616
1278.7702 | -4.4e-05 | 68747 | 68754
1281.1025 | 0.000171 | 68651 | 68624
1283.4328 | 9.5e-05 | 68831 | 68816
1284.5973 | -6e-06 | 68877 | 68878
1286.9247 | -5.7e-05 | 68984 | 68993
1289.2502 | 5.7e-05 | 69026 | 69017
1291.5738 | 5e-05 | 69097 | 69089
1292.7349 | 3.1e-05 | 69024 | 69019
1295.0556 | 7.6e-05 | 68964 | 68952
1297.3743 | 0.000252 | 68986 | 68946
1299.6912 | 0.000182 | 69130 | 69101
1300.8489 | 5.7e-05 | 69074 | 69065
1303.1628 | -1.9e-05 | 69103 | 69106
1305.4748 | 0.000295 | 69262 | 69215
1307.7849 | 0.000225 | 69352 | 69316
1308.9392 | 0.000106 | 69370 | 69353
1311.2463 | 6.9e-05 | 69471 | 69460
1313.5516 | 0.000218 | 69645 | 69610
1315.8549 | 2.5e-05 | 69737 | 69733
1317.0058 | 5.6e-05 | 69703 | 69694
1319.3063 | 3.1e-05 | 69902 | 69897
1321.6047 | 5.6e-05 | 70101 | 70092
1323.9013 | -1.2e-05 | 70046 | 70048
1325.0489 | -3.7e-05 | 70199 | 70205
1327.3425 | 1.2e-05 | 70308 | 70306
1329.6343 | -7.4e-05 | 70372 | 70384
1331.9241 | 0.00021 | 70367 | 70333
1333.0682 | 0.000154 | 70394 | 70369
1335.3551 | 4.3e-05 | 70535 | 70528
1337.6401 | 0.000117 | 70372 | 70353
1339.9232 | 0.000117 | 70468 | 70449
1341.0639 | -0.015586 | 68036 | 70522
1343.3441 | 0.000222 | 70588 | 70552
1345.6223 | 0.000123 | 70469 | 70449
1347.8986 | 0.000197 | 70576 | 70544
1349.036 | -7.4e-05 | 70593 | 70605
1351.3094 | -6e-06 | 70371 | 70372
1353.5809 | 6.8e-05 | 70390 | 70379
1355.8504 | 0.000136 | 70417 | 70395
1356.9845 | -3.7e-05 | 70338 | 70344
1359.2511 | 8.7e-05 | 70182 | 70168
1361.5158 | 0.000167 | 70053 | 70026
1363.7786 | 3.1e-05 | 70053 | 70048
1364.9092 | -3.7e-05 | 69994 | 70000
1367.1691 | 0.000161 | 69951 | 69925
1369.4271 | 0.00018 | 69864 | 69835
1371.6831 | 0.000106 | 69817 | 69800
1372.8104 | -0.000137 | 69720 | 69742
1375.0635 | 6.9e-05 | 69433 | 69422
1377.3147 | 0.000233 | 69061 | 69024
1379.5639 | 0.000304 | 68609 | 68561
1380.6878 | -3.8e-05 | 68327 | 68333
1382.9342 | -8.3e-05 | 67741 | 67754
1385.1786 | 6e-06 | 67460 | 67459
1387.4211 | 7.1e-05 | 67283 | 67272
1388.5417 | -3.2e-05 | 67075 | 67080
1390.7813 | 9.1e-05 | 66571 | 66557
1393.019 | -7.9e-05 | 66155 | 66167
1395.2547 | 5.3e-05 | 65831 | 65823
1396.3719 | 7e-06 | 65593 | 65592
1398.6047 | 0.000126 | 65337 | 65318
1400.8356 | -6e-05 | 65327 | 65336
1403.0646 | 5.3e-05 | 65276 | 65268
1404.1784 | 6e-05 | 65124 | 65115
1406.4045 | 5.4e-05 | 64827 | 64819
1408.6287 | 5.4e-05 | 64884 | 64876
1410.8509 | 8.1e-05 | 64729 | 64717
1411.9613 | -4e-05 | 64695 | 64701
1414.1806 | 0.000141 | 64646 | 64625
1416.398 | 5.4e-05 | 64689 | 64681
1418.6135 | 8.7e-05 | 64653 | 64640
1419.7205 | 7.4e-05 | 64519 | 64508
1421.9331 | 0.000128 | 64405 | 64386
1424.1438 | 0.000115 | 64378 | 64361
1426.3525 | 2e-05 | 64347 | 64344
1427.4561 | 7e-06 | 64355 | 64354
1429.6619 | 2.7e-05 | 64313 | 64309
1431.8658 | 0.000203 | 64268 | 64238
1434.0678 | -6.1e-05 | 64263 | 64272
1435.1681 | -5.4e-05 | 64265 | 64273
1437.3671 | 3.4e-05 | 64025 | 64020
1439.5643 | 0.00019 | 63983 | 63955
1441.7595 | 9.5e-05 | 63907 | 63893
1442.8564 | -1.4e-05 | 63887 | 63889
1445.0487 | -7e-06 | 63576 | 63577
1447.2391 | 8.9e-05 | 63380 | 63367
1449.4275 | 4.8e-05 | 63340 | 63333
1450.521 | 0 | 63267 | 63267
1452.7066 | 2.8e-05 | 63027 | 63023
1454.8902 | 8.3e-05 | 62798 | 62786
1457.0719 | 2.8e-05 | 62639 | 62635
1458.162 | -7e-06 | 62520 | 62521
1460.3408 | 0.00021 | 62163 | 62133
1462.5177 | 9.8e-05 | 61916 | 61902
1464.6926 | 7e-06 | 61554 | 61553
1465.7794 | -0.000163 | 61446 | 61469
1467.9514 | -3.5e-05 | 61201 | 61206
1470.1215 | 0.000186 | 60772 | 60746
1472.2897 | 0.00023 | 60311 | 60279
1473.3731 | 7.9e-05 | 60216 | 60205
1475.5384 | -0.000152 | 59876 | 59897
1477.7017 | 9.5e-05 | 59455 | 59442
1479.8631 | 7e-06 | 59002 | 59001
1480.9431 | -7.4e-05 | 58824 | 58834
1483.1016 | 5.9e-05 | 58596 | 58588
1485.2582 | 0.000164 | 58149 | 58127
1487.4129 | 0 | 57744 | 57744
1488.4895 | -0.000196 | 57475 | 57501
1490.6413 | -1.5e-05 | 57107 | 57109
1492.7911 | 3.8e-05 | 56865 | 56860
1494.9391 | 0.000154 | 56467 | 56447
1496.0123 | -5.4e-05 | 56213 | 56220
1498.1573 | -6.2e-05 | 55711 | 55719
1500.3004 | 0.000156 | 55565 | 55545
1502.4415 | 2.4e-05 | 55296 | 55293
1503.5114 | -0.000102 | 55131 | 55144
1505.6497 | 6.3e-05 | 54721 | 54713
1507.786 | 0.000128 | 54418 | 54402
1509.9204 | -0.0146 | 52237 | 54023
1510.9869 | 0.000226 | 53792 | 53764
1513.1184 | 0 | 53528 | 53528
1515.2479 | 0.00027 | 53004 | 52971
1517.3756 | 4.1e-05 | 52545 | 52540
1518.4387 | 0.000133 | 52419 | 52403
1520.5634 | -8.4e-05 | 51985 | 51995
1522.6862 | 4.2e-05 | 51501 | 51496
1524.8071 | 0.000332 | 50991 | 50952
1525.8668 | 7.7e-05 | 50832 | 50823
1527.9848 | -2.6e-05 | 50577 | 50580
1530.1009 | 8.7e-05 | 50026 | 50016
1532.215 | -6.1e-05 | 49604 | 49611
1533.2714 | 9.7e-05 | 49321 | 49310
1535.3826 | -3.5e-05 | 48988 | 48992
1537.4919 | -4.5e-05 | 48643 | 48648
1539.5993 | 3.6e-05 | 48285 | 48281
1540.6522 | -0.000162 | 48112 | 48130
1542.7567 | -0.000109 | 47632 | 47644
1544.8592 | 0 | 47180 | 47180
1546.9599 | 5.6e-05 | 46865 | 46859
1548.0094 | -8.4e-05 | 46605 | 46614
1550.1072 | -1.9e-05 | 46115 | 46117
1552.203 | -2.9e-05 | 45607 | 45610
1554.2968 | 4.8e-05 | 45183 | 45178
1555.343 | 2.9e-05 | 44980 | 44977
1557.434 | 9.7e-05 | 44600 | 44590
1559.523 | 0.000295 | 44155 | 44125
1561.6101 | 0.000319 | 43522 | 43490
1562.6529 | -0.00011 | 43251 | 43262
1564.7372 | 0.000142 | 42900 | 42886
1566.8194 | -1e-05 | 42414 | 42415
1568.8998 | 4.2e-05 | 41820 | 41816
1569.9392 | -0.000199 | 41557 | 41576
1572.0167 | 6.3e-05 | 41042 | 41036
1574.0922 | 8.6e-05 | 40478 | 40470
1576.1658 | 5.4e-05 | 40079 | 40074
1577.2019 | 8.7e-05 | 39785 | 39777
1579.2725 | -0.000144 | 39225 | 39238
1581.3413 | 0.000168 | 38730 | 38715
1583.4081 | 8e-05 | 38082 | 38075
1584.4408 | -0.000103 | 37887 | 37896
1586.5048 | -0.000186 | 37286 | 37302
1588.5668 | 0.000177 | 36816 | 36801
1590.6269 | -0.000132 | 36205 | 36216
1591.6562 | -0.000158 | 35833 | 35846
1593.7133 | -1.2e-05 | 35439 | 35440
1595.7686 | 0.000186 | 35106 | 35091
1597.8219 | -3.8e-05 | 34681 | 34684
1598.8478 | -0.000265 | 34402 | 34423
1600.8983 | 7.7e-05 | 33958 | 33952
1602.9468 | 0.000104 | 33465 | 33457
1604.9933 | 0.000132 | 32945 | 32935
1606.0159 | -0.000106 | 32716 | 32724
1608.0596 | 5.4e-05 | 32330 | 32326
1610.1013 | 0 | 31750 | 31750
1612.1411 | -2.8e-05 | 31165 | 31167
1613.1603 | -8.4e-05 | 30893 | 30899
1615.1972 | 0 | 30449 | 30449
1617.2322 | 5.8e-05 | 29993 | 29989
1619.2652 | 0.000192 | 29440 | 29427
1621.2963 | -0.00021 | 28964 | 28978
1622.3112 | -0.000181 | 28749 | 28761
1624.3394 | 6.2e-05 | 28144 | 28140
1626.3657 | -4.7e-05 | 27717 | 27720
1628.39 | 0.000398 | 27289 | 27264
1629.4015 | 0 | 26940 | 26940
1631.423 | 6.6e-05 | 26323 | 26319
1633.4425 | 0 | 25781 | 25781
1635.4601 | 3.4e-05 | 25229 | 25227
1636.4682 | -8.7e-05 | 24842 | 24847
1638.4829 | 0.000321 | 24394 | 24376
1640.4957 | 0.000164 | 23813 | 23804
1642.5065 | -0.00013 | 23302 | 23309
1643.5112 | 0.00015 | 23110 | 23102
1645.5192 | 0.000424 | 22564 | 22542
1647.5252 | -0.000216 | 22116 | 22127
1649.5293 | -2e-05 | 21563 | 21564
1650.5306 | -2e-05 | 21317 | 21318
1652.5318 | 4.2e-05 | 20801 | 20799
1654.5311 | 0.000151 | 20203 | 20196
1656.5284 | -0.000242 | 19775 | 19786
1657.5264 | 6.7e-05 | 19498 | 19495
1659.5208 | 0 | 18974 | 18974
1661.5133 | 0.000804 | 18391 | 18357
1663.5039 | -7.4e-05 | 17691 | 17694
1664.4985 | 0.00035 | 17379 | 17365
1666.4861 | -0.000182 | 16666 | 16673
1668.4719 | 0.000327 | 15967 | 15955
1670.4557 | -0.000287 | 15143 | 15153
1671.4469 | 0.000651 | 14695 | 14673
1673.4278 | 6.4e-05 | 13670 | 13668
1675.4068 | -0.000275 | 12616 | 12624
1677.3839 | 0.000225 | 11576 | 11570
1678.3717 | 0.000353 | 11064 | 11055
1680.3459 | -0.000259 | 10064 | 10070
1682.3181 | -0.000625 | 9026 | 9039
1684.2884 | 0.000971 | 8060 | 8042
1685.2728 | 0.000457 | 7609 | 7601
1687.2403 | -0.00032 | 6792 | 6797
1689.2057 | -0.000144 | 6043 | 6045
1691.1693 | 0.000161 | 5406 | 5404
1692.1503 | -0.29189 | 2616 | 5123
1694.111 | 0.001047 | 4570 | 4559
1696.0697 | 0.000319 | 4086 | 4083
1698.0265 | 0.001544 | 3662 | 3649
1699.0042 | 0.001878 | 3476 | 3461
1700.9581 | 0.001406 | 3094 | 3084