## input
Method: | C
Host Date-Time: | 12/7/22 @ 9:15:7
Header Version: | 1
System Temp (C): | 35.14
Detector Temp (C): | 28.9
Humidity (%): | 43.62
Lamp PD: | 68
Shift Vector Coefficients: | -2.7491 | 0.027816 | -6.8173e-05
Pixel to Wavelength Coefficients: | 1790.15 | -0.93134 | -0.00024131
Serial Number: | 736F005
Scan Config Name: | C
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 2.34
Exposure (ms): | 1.27
Digital Resolution: | 400
Num Repeats: | 1
PGA Gain: | 2
Total Measurement Time in sec: | 1.85
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.8175 | -0.000405 | 26768 | 26793
903.1306 | 9.5e-05 | 27483 | 27477
905.7554 | -0.00012 | 28887 | 28895
908.3782 | -0.000157 | 30387 | 30398
910.999 | 0.00019 | 31971 | 31957
912.3088 | -0.001178 | 32762 | 32851
914.9267 | 1.3e-05 | 34537 | 34536
917.5428 | -0.000155 | 36446 | 36459
920.1569 | -0.000236 | 38615 | 38636
921.4632 | -0.000437 | 39742 | 39782
924.0745 | -0.000194 | 42486 | 42505
926.6838 | 0.000172 | 45530 | 45512
929.2911 | 5.3e-05 | 48860 | 48854
930.5941 | -8.6e-05 | 50532 | 50542
933.1986 | -9.6e-05 | 54051 | 54063
935.8011 | -8.3e-05 | 57361 | 57372
938.4017 | 1.4e-05 | 60568 | 60566
939.7013 | -1.4e-05 | 62080 | 62082
942.299 | -9.4e-05 | 64842 | 64856
944.8948 | 3.2e-05 | 67289 | 67284
947.4886 | 0.012639 | 69625 | 67628
948.7848 | 9.2e-05 | 70688 | 70673
951.3758 | -0.000359 | 72522 | 72582
953.9648 | -9.4e-05 | 74126 | 74142
956.5519 | 6.3e-05 | 75691 | 75680
957.8447 | -0.000165 | 76405 | 76434
960.4289 | -7.3e-05 | 77760 | 77773
963.0112 | 3.3e-05 | 79016 | 79010
965.5915 | 1.6e-05 | 80229 | 80226
966.8809 | 2.2e-05 | 80716 | 80712
969.4584 | -6.4e-05 | 81784 | 81796
972.0339 | -3.1e-05 | 82939 | 82945
974.6075 | 0.000124 | 83937 | 83913
975.8935 | -0.000154 | 84397 | 84427
978.4642 | -0.000198 | 85500 | 85539
981.033 | -9e-05 | 86628 | 86646
983.5998 | 9.9e-05 | 87646 | 87626
984.8825 | -0.000108 | 88180 | 88202
987.4464 | 1.9e-05 | 89377 | 89373
990.0084 | -6.7e-05 | 90572 | 90586
992.5685 | 0.000123 | 91804 | 91778
993.8478 | -5.6e-05 | 92468 | 92480
996.405 | -0.00019 | 93767 | 93808
998.9602 | -5e-06 | 94873 | 94874
1001.5135 | -9.9e-05 | 96268 | 96290
1002.7894 | -0.000108 | 96919 | 96943
1005.3399 | -6.2e-05 | 98056 | 98070
1007.8883 | -2.2e-05 | 99284 | 99289
1010.4349 | -1.7e-05 | 100409 | 100413
1011.7074 | -0.000116 | 101115 | 101142
1014.2511 | -0.000187 | 102127 | 102171
1016.7928 | 8e-06 | 103240 | 103238
1019.3326 | 7.1e-05 | 104208 | 104191
1020.6018 | -7.5e-05 | 104692 | 104710
1023.1387 | -2.9e-05 | 105470 | 105477
1025.6737 | -0.000123 | 106012 | 106042
1028.2067 | 3.7e-05 | 106456 | 106447
1029.4725 | -5.3e-05 | 106547 | 106560
1032.0026 | 2.8e-05 | 107018 | 107011
1034.5309 | 6.9e-05 | 107350 | 107333
1037.0571 | -4e-05 | 107865 | 107875
1038.3196 | -1.2e-05 | 108200 | 108203
1040.8429 | -3.2e-05 | 108897 | 108905
1043.3644 | 3.2e-05 | 109525 | 109517
1045.8839 | -8.3e-05 | 109801 | 109822
1047.143 | -8.7e-05 | 109802 | 109824
1049.6596 | -0.00017 | 110055 | 110098
1052.1743 | -4.7e-05 | 109795 | 109807
1054.6871 | -3.2e-05 | 109288 | 109296
1055.9427 | 0 | 109071 | 109071
1058.4526 | -0.000204 | 108633 | 108684
1060.9606 | -6.4e-05 | 107984 | 108000
1063.4666 | -0.000101 | 107366 | 107391
1064.7188 | -0.00011 | 106967 | 106994
1067.222 | -1.2e-05 | 106163 | 106166
1069.7232 | 2.9e-05 | 105752 | 105745
1072.2224 | 9.9e-05 | 105331 | 105307
1073.4713 | -0.000186 | 104909 | 104954
1075.9677 | -0.000217 | 104060 | 104112
1078.4621 | 4.2e-05 | 103792 | 103782
1080.9546 | -8.4e-05 | 103093 | 103113
1082.2001 | -0.000105 | 102923 | 102948
1084.6897 | 4.7e-05 | 102625 | 102614
1087.1774 | 4.2e-05 | 102355 | 102345
1089.6632 | -0.000157 | 102047 | 102084
1090.9053 | 4e-06 | 101822 | 101821
1093.3881 | -0.000102 | 101691 | 101715
1095.8691 | 4.7e-05 | 101760 | 101749
1098.348 | -0.000192 | 101678 | 101723
1099.5868 | 6.4e-05 | 101908 | 101893
1102.0629 | -4.7e-05 | 101971 | 101982
1104.5371 | 0.000123 | 102236 | 102207
1107.0093 | -0.000119 | 102248 | 102276
1108.2447 | 5.9e-05 | 102484 | 102470
1110.714 | -8.9e-05 | 102880 | 102901
1113.1814 | 4.6e-05 | 103351 | 103340
1115.6469 | 3.8e-05 | 103818 | 103809
1116.8789 | -4.2e-05 | 104026 | 104036
1119.3415 | 0.000232 | 104668 | 104612
1121.8021 | -8.7e-05 | 104969 | 104990
1124.2609 | -8.2e-05 | 105635 | 105655
1125.4895 | -8.6e-05 | 105843 | 105864
1127.9453 | 2.9e-05 | 106401 | 106394
1130.3992 | 5.3e-05 | 107099 | 107086
1132.8512 | -0.000197 | 107758 | 107807
1134.0764 | -5.6e-05 | 108217 | 108231
1136.5255 | -0.000128 | 108555 | 108587
1138.9726 | -0.000103 | 109223 | 109249
1141.4178 | -0.000127 | 109691 | 109723
1142.6397 | -4.7e-05 | 109975 | 109987
1145.082 | -4.3e-05 | 110654 | 110665
1147.5224 | -4e-06 | 111293 | 111294
1149.9608 | -0.000171 | 111705 | 111749
1151.1793 | -7.4e-05 | 111911 | 111930
1153.6149 | 9.3e-05 | 112495 | 112471
1156.0485 | -0.000142 | 113063 | 113100
1158.4802 | -0.000142 | 113447 | 113484
1159.6953 | -7.3e-05 | 113719 | 113738
1162.1241 | -0.000118 | 114220 | 114251
1164.551 | -9.1e-05 | 114447 | 114471
1166.9759 | -0.000106 | 114725 | 114753
1168.1876 | -4.5e-05 | 114858 | 114870
1170.6097 | -9.4e-05 | 115221 | 115246
1173.0298 | -3.4e-05 | 115455 | 115464
1175.448 | -0.000172 | 115957 | 116003
1176.6563 | -4.9e-05 | 116251 | 116264
1179.0716 | -2.2e-05 | 116404 | 116410
1181.485 | -7e-06 | 116701 | 116703
1183.8964 | -0.000241 | 117057 | 117122
1185.1014 | -0.000163 | 117271 | 117315
1187.5099 | 1.8e-05 | 117582 | 117577
1189.9165 | -8.8e-05 | 118012 | 118036
1192.3212 | 0.004031 | 118519 | 117424
1193.5228 | -1.5e-05 | 118648 | 118652
1195.9245 | -5.1e-05 | 118730 | 118744
1198.3244 | -0.000102 | 119157 | 119185
1200.7223 | -4.4e-05 | 119630 | 119642
1201.9205 | -0.0002 | 119683 | 119738
1204.3155 | -0.000123 | 120199 | 120233
1206.7086 | -9e-05 | 120727 | 120752
1209.0997 | 7.5e-05 | 120911 | 120890
1210.2946 | -6.1e-05 | 121166 | 121183
1212.6829 | 1.8e-05 | 121489 | 121484
1215.0692 | -3.6e-05 | 121971 | 121981
1217.4536 | -2.8e-05 | 122384 | 122392
1218.645 | 0.00011 | 122716 | 122685
1221.0265 | -3.5e-05 | 123426 | 123436
1223.4061 | -9.1e-05 | 123808 | 123834
1225.7837 | -0.000174 | 124443 | 124493
1226.9718 | -5.6e-05 | 124928 | 124944
1229.3466 | -8.3e-05 | 125785 | 125809
1231.7194 | -6.2e-05 | 126338 | 126356
1234.0903 | -0.000188 | 127056 | 127111
1235.275 | -0.000174 | 127400 | 127451
1237.643 | -0.000139 | 127900 | 127941
1240.009 | -1.7e-05 | 128485 | 128490
1242.3732 | 3e-05 | 129236 | 129227
1243.5545 | -1e-05 | 129591 | 129594
1245.9157 | -0.000127 | 130270 | 130308
1248.275 | 2e-05 | 130973 | 130967
1250.6324 | -0.000125 | 131609 | 131647
1251.8103 | 0 | 131841 | 131841
1254.1648 | -9.8e-05 | 132510 | 132540
1256.5174 | 5.9e-05 | 133464 | 133446
1258.868 | -7.5e-05 | 133982 | 134005
1260.0426 | -6e-06 | 134327 | 134329
1262.3903 | -8.4e-05 | 135174 | 135200
1264.7361 | -5.7e-05 | 136117 | 136135
1267.0799 | -7e-05 | 136484 | 136506
1268.2511 | -0.000117 | 136832 | 136869
1270.5921 | -6e-05 | 137179 | 137198
1272.9311 | -0.000149 | 136902 | 136949
1275.2682 | -0.000114 | 137045 | 137081
1276.436 | -8.9e-05 | 137270 | 137298
1278.7702 | 3.2e-05 | 137588 | 137578
1281.1025 | 1.9e-05 | 137379 | 137373
1283.4328 | -0.000114 | 137624 | 137660
1284.5973 | -0.000117 | 137645 | 137682
1286.9247 | -4.1e-05 | 137758 | 137771
1289.2502 | -6.3e-05 | 137874 | 137894
1291.5738 | -0.00011 | 137966 | 138001
1292.7349 | -7.9e-05 | 137834 | 137859
1295.0556 | -2.8e-05 | 137714 | 137723
1297.3743 | -6e-06 | 137694 | 137696
1299.6912 | -4.1e-05 | 138000 | 138013
1300.8489 | -5.4e-05 | 137956 | 137973
1303.1628 | 9e-06 | 138112 | 138109
1305.4748 | -0.000176 | 138329 | 138385
1307.7849 | -6.9e-05 | 138629 | 138651
1308.9392 | -9.7e-05 | 138774 | 138805
1311.2463 | 0 | 139034 | 139034
1313.5516 | -2.5e-05 | 139393 | 139401
1315.8549 | -5.3e-05 | 139602 | 139619
1317.0058 | -0.000103 | 139563 | 139596
1319.3063 | 4.3e-05 | 139928 | 139914
1321.6047 | -0.000183 | 140260 | 140319
1323.9013 | -6.5e-05 | 140232 | 140253
1325.0489 | -0.000105 | 140484 | 140518
1327.3425 | -0.000139 | 140721 | 140766
1329.6343 | -1.8e-05 | 140859 | 140865
1331.9241 | -0.000213 | 140742 | 140811
1333.0682 | -0.000191 | 140806 | 140868
1335.3551 | -6.5e-05 | 141139 | 141160
1337.6401 | -1.5e-05 | 140847 | 140852
1339.9232 | -9.5e-05 | 141048 | 141079
1341.0639 | 3.7e-05 | 141216 | 141204
1343.3441 | -1.8e-05 | 141314 | 141320
1345.6223 | -3e-06 | 141101 | 141102
1347.8986 | -3.4e-05 | 141302 | 141313
1349.036 | -0.000191 | 141307 | 141369
1351.3094 | -6.2e-05 | 140921 | 140941
1353.5809 | -0.000244 | 140829 | 140908
1355.8504 | 3e-06 | 140799 | 140798
1356.9845 | -0.000151 | 140655 | 140704
1359.2511 | 6.2e-05 | 140262 | 140242
1361.5158 | -0.000171 | 139972 | 140027
1363.7786 | 6e-06 | 140023 | 140021
1364.9092 | -4.7e-05 | 139884 | 139899
1367.1691 | -9.3e-05 | 139686 | 139716
1369.4271 | 6e-06 | 139516 | 139514
1371.6831 | -0.000143 | 139517 | 139563
1372.8104 | -8.1e-05 | 139484 | 139510
1375.0635 | 4.7e-05 | 139017 | 139002
1377.3147 | -4.4e-05 | 138173 | 138187
1379.5639 | -0.000146 | 137266 | 137312
1380.6878 | -3.2e-05 | 136811 | 136821
1382.9342 | -6.4e-05 | 135745 | 135765
1385.1786 | -9.3e-05 | 135048 | 135077
1387.4211 | -1.6e-05 | 134639 | 134644
1388.5417 | 7.8e-05 | 134269 | 134245
1390.7813 | 1e-05 | 133190 | 133187
1393.019 | -9.5e-05 | 132385 | 132414
1395.2547 | -0.000181 | 131800 | 131855
1396.3719 | -0.000175 | 131358 | 131411
1398.6047 | -0.000183 | 130819 | 130874
1400.8356 | -3.3e-05 | 130748 | 130758
1403.0646 | -0.00015 | 130568 | 130613
1404.1784 | -0.00012 | 130224 | 130260
1406.4045 | -0.000131 | 129581 | 129620
1408.6287 | -9.7e-05 | 129710 | 129739
1410.8509 | -0.000144 | 129481 | 129524
1411.9613 | 7e-06 | 129409 | 129407
1414.1806 | -3.7e-05 | 129226 | 129237
1416.398 | -7.7e-05 | 129246 | 129269
1418.6135 | -1.7e-05 | 129167 | 129172
1419.7205 | 2e-05 | 128933 | 128927
1421.9331 | -0.006041 | 127015 | 128794
1424.1438 | -3.4e-05 | 128709 | 128719
1426.3525 | -9.8e-05 | 128588 | 128617
1427.4561 | -3e-05 | 128618 | 128627
1429.6619 | -8.8e-05 | 128511 | 128537
1431.8658 | -0.000173 | 128312 | 128363
1434.0678 | -2.7e-05 | 128478 | 128486
1435.1681 | -8.8e-05 | 128533 | 128559
1437.3671 | -5.4e-05 | 128180 | 128196
1439.5643 | -8.5e-05 | 127983 | 128008
1441.7595 | -9.5e-05 | 127754 | 127782
1442.8564 | -5.4e-05 | 127736 | 127752
1445.0487 | -6.5e-05 | 127129 | 127148
1447.2391 | -4.8e-05 | 126733 | 126747
1449.4275 | -0.000137 | 126613 | 126653
1450.521 | -9.3e-05 | 126531 | 126558
1452.7066 | -4.1e-05 | 126063 | 126075
1454.8902 | -8e-05 | 125476 | 125499
1457.0719 | -2.8e-05 | 125134 | 125142
1458.162 | 5.9e-05 | 124931 | 124914
1460.3408 | -0.000122 | 124128 | 124163
1462.5177 | -8.1e-05 | 123614 | 123637
1464.6926 | -7.4e-05 | 122917 | 122938
1465.7794 | -3.5e-05 | 122737 | 122747
1467.9514 | -1.8e-05 | 122339 | 122344
1470.1215 | -8.2e-05 | 121479 | 121502
1472.2897 | -0.000176 | 120556 | 120605
1473.3731 | -0.000112 | 120447 | 120478
1475.5384 | -2.2e-05 | 119922 | 119928
1477.7017 | -0.000306 | 119062 | 119146
1479.8631 | -1.1e-05 | 118145 | 118148
1480.9431 | -0.000184 | 117756 | 117806
1483.1016 | -5.2e-05 | 117244 | 117258
1485.2582 | -9.7e-05 | 116235 | 116261
1487.4129 | -5.3e-05 | 115472 | 115486
1488.4895 | 1.1e-05 | 114924 | 114921
1490.6413 | -0.000186 | 114189 | 114238
1492.7911 | -0.000157 | 113686 | 113727
1494.9391 | -3.8e-05 | 112921 | 112931
1496.0123 | -9.7e-05 | 112431 | 112456
1498.1573 | 5.9e-05 | 111325 | 111310
1500.3004 | -0.000106 | 110949 | 110976
1502.4415 | -2.4e-05 | 110432 | 110438
1503.5114 | -2e-05 | 110097 | 110102
1505.6497 | -5.6e-05 | 109261 | 109275
1507.786 | 4e-06 | 108640 | 108639
1509.9204 | 4.4e-05 | 108006 | 107995
1510.9869 | 8e-06 | 107495 | 107493
1513.1184 | 3.2e-05 | 107029 | 107021
1515.2479 | -1.6e-05 | 106028 | 106032
1517.3756 | 2.1e-05 | 105223 | 105218
1518.4387 | -5.4e-05 | 104944 | 104957
1520.5634 | -9.6e-05 | 104116 | 104139
1522.6862 | -0.00024 | 103144 | 103201
1524.8071 | -0.000136 | 102019 | 102051
1525.8668 | 6.4e-05 | 101736 | 101721
1527.9848 | -0.002835 | 100471 | 101129
1530.1009 | -6.5e-05 | 99992 | 100007
1532.215 | -0.00014 | 99078 | 99110
1533.2714 | -4.4e-05 | 98449 | 98459
1535.3826 | -0.000115 | 97804 | 97830
1537.4919 | -4.5e-05 | 97043 | 97053
1539.5993 | -0.000203 | 96356 | 96401
1540.6522 | -9.9e-05 | 96095 | 96117
1542.7567 | -0.000173 | 95162 | 95200
1544.8592 | -6.9e-05 | 94291 | 94306
1546.9599 | 9.3e-05 | 93829 | 93809
1548.0094 | -2.3e-05 | 93372 | 93377
1550.1072 | -5e-06 | 92398 | 92399
1552.203 | -1.4e-05 | 91230 | 91233
1554.2968 | -0.000115 | 90265 | 90289
1555.343 | -7.2e-05 | 89870 | 89885
1557.434 | -0.000244 | 89139 | 89189
1559.523 | 5.4e-05 | 88322 | 88311
1561.6101 | -0.00011 | 87085 | 87107
1562.6529 | -4e-05 | 86612 | 86620
1564.7372 | -0.000273 | 85829 | 85883
1566.8194 | -0.000343 | 84825 | 84892
1568.8998 | 0 | 83609 | 83609
1569.9392 | 0 | 83139 | 83139
1572.0167 | -0.000122 | 82086 | 82109
1574.0922 | -1.6e-05 | 80958 | 80961
1576.1658 | 7e-05 | 80126 | 80113
1577.2019 | 0.00018 | 79534 | 79501
1579.2725 | -0.000144 | 78300 | 78326
1581.3413 | -4.5e-05 | 77325 | 77333
1583.4081 | -0.000257 | 76095 | 76140
1584.4408 | 0 | 75772 | 75772
1586.5048 | -0.000122 | 74598 | 74619
1588.5668 | -0.000384 | 73561 | 73626
1590.6269 | -2.4e-05 | 72352 | 72356
1591.6562 | -0.000261 | 71590 | 71633
1593.7133 | -0.000282 | 70851 | 70897
1595.7686 | -0.000303 | 70247 | 70296
1597.8219 | -8.8e-05 | 69418 | 69432
1598.8478 | -0.000145 | 68834 | 68857
1600.8983 | -0.000147 | 67943 | 67966
1602.9468 | -0.00024 | 66914 | 66951
1604.9933 | 7.2e-05 | 65923 | 65912
1606.0159 | -0.000266 | 65409 | 65449
1608.0596 | -2.7e-05 | 64676 | 64680
1610.1013 | -0.000267 | 63472 | 63511
1612.1411 | -0.00014 | 62245 | 62265
1613.1603 | -9.1e-05 | 61725 | 61738
1615.1972 | -0.000314 | 60840 | 60884
1617.2322 | 2.2e-05 | 59960 | 59957
1619.2652 | 6.6e-05 | 58818 | 58809
1621.2963 | -8.3e-05 | 57859 | 57870
1622.3112 | -6.1e-05 | 57401 | 57409
1624.3394 | -0.000116 | 56139 | 56154
1626.3657 | -7.1e-05 | 55269 | 55278
1628.39 | -4.8e-05 | 54403 | 54409
1629.4015 | 0.010971 | 53760 | 52419
1631.423 | -0.000157 | 52556 | 52575
1633.4425 | 0.000219 | 51542 | 51516
1635.4601 | -0.000112 | 50419 | 50432
1636.4682 | -0.000166 | 49653 | 49672
1638.4829 | -0.000223 | 48782 | 48807
1640.4957 | -0.000292 | 47572 | 47604
1642.5065 | -0.000103 | 46574 | 46585
1643.5112 | -0.000329 | 46133 | 46168
1645.5192 | 0.000212 | 45024 | 45002
1647.5252 | -0.000138 | 44157 | 44171
1649.5293 | 7e-05 | 43128 | 43121
1650.5306 | -0.000173 | 42662 | 42679
1652.5318 | -0.00025 | 41624 | 41648
1654.5311 | 0.000118 | 40479 | 40468
1656.5284 | -0.000143 | 39592 | 39605
1657.5264 | -0.000278 | 39009 | 39034
1659.5208 | 0 | 37991 | 37991
1661.5133 | -0.000236 | 36799 | 36819
1663.5039 | -0.00049 | 35436 | 35476
1664.4985 | -0.000487 | 34792 | 34831
1666.4861 | -0.000454 | 33436 | 33471
1668.4719 | -0.000203 | 32085 | 32100
1670.4557 | -0.000427 | 30504 | 30534
1671.4469 | -0.000543 | 29581 | 29618
1673.4278 | -0.000833 | 27610 | 27663
1675.4068 | -0.000272 | 25523 | 25539
1677.3839 | -0.001187 | 23393 | 23457
1678.3717 | -0.001183 | 22362 | 22423
1680.3459 | -0.000937 | 20378 | 20422
1682.3181 | -0.00071 | 18323 | 18353
1684.2884 | -0.000929 | 16351 | 16386
1685.2728 | -0.001096 | 15435 | 15474
1687.2403 | -0.000282 | 13839 | 13848
1689.2057 | -0.000353 | 12294 | 12304
1691.1693 | -0.000512 | 11016 | 11029
1692.1503 | -0.001661 | 10437 | 10477
1694.111 | -0.001115 | 9334 | 9358
1696.0697 | -0.000471 | 8301 | 8310
1698.0265 | -0.001518 | 7424 | 7450
1699.0042 | -0.002463 | 7032 | 7072
1700.9581 | 0.001994 | 6331 | 6302