## input
Method: | Hadamard App
Host Date-Time: | 28/10/21 @ 15:19:36
Header Version: | 1
System Temp (C): | 25.68
Detector Temp (C): | 25.74
Humidity (%): | 42.95
Lamp PD: | 3816
Shift Vector Coefficients: | -7.9835 | 0.050096 | -7.013e-05
Pixel to Wavelength Coefficients: | 1792.23 | -0.92492 | -0.00023108
Serial Number: | 6100208
Scan Config Name: | Hadamard App
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 7.03
Exposure (ms): | 0.635
Digital Resolution: | 228
Num Repeats: | 10
PGA Gain: | 32
Total Measurement Time in sec: | 3.532
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.1648 | 0.18656 | 24532 | 15965
905.0501 | 0.18204 | 28677 | 18858
908.9313 | 0.17401 | 31651 | 21202
912.8084 | 0.17404 | 34281 | 22962
917.9713 | 0.17652 | 37887 | 25233
921.8386 | 0.17685 | 41322 | 27500
925.7018 | 0.17681 | 45731 | 30437
929.5608 | 0.17869 | 51214 | 33939
933.4157 | 0.1786 | 57678 | 38231
937.2663 | 0.17751 | 64668 | 42971
941.1129 | 0.17423 | 71487 | 47863
944.9553 | 0.17353 | 77660 | 52079
948.7935 | 0.17223 | 83242 | 55990
953.9046 | 0.17173 | 90161 | 60714
957.7331 | 0.17044 | 95362 | 64408
961.5575 | 0.17068 | 100489 | 67833
965.3777 | 0.171 | 105891 | 71427
969.1937 | 0.17269 | 111533 | 74939
973.0056 | 0.1697 | 117032 | 79178
976.8133 | 0.17117 | 122640 | 82691
980.6169 | 0.16931 | 127953 | 86645
984.4162 | 0.17049 | 133106 | 89890
989.4756 | 0.16877 | 139441 | 94542
993.2653 | 0.16843 | 143774 | 97556
997.0509 | 0.16742 | 147305 | 100184
1000.8322 | 0.16753 | 150647 | 102431
1004.6094 | 0.16646 | 153224 | 104440
1008.3825 | 0.16658 | 155560 | 106002
1012.1514 | 0.16657 | 157334 | 107214
1015.9161 | 0.16659 | 158695 | 108137
1019.6767 | 0.16641 | 159822 | 108950
1024.6843 | 0.16671 | 160812 | 109550
1028.4352 | 0.16578 | 161186 | 110038
1032.1819 | 0.16547 | 161560 | 110373
1035.9244 | 0.16497 | 161625 | 110545
1039.6628 | 0.16396 | 161366 | 110624
1043.397 | 0.1638 | 161188 | 110543
1047.1271 | 0.16442 | 160726 | 110070
1050.853 | 0.16327 | 160138 | 109958
1054.5748 | 0.16231 | 159574 | 109812
1059.5306 | 0.16221 | 158915 | 109383
1063.2427 | 0.16227 | 158666 | 109198
1066.9506 | 0.16137 | 158400 | 109242
1070.6543 | 0.15977 | 158186 | 109496
1074.3538 | 0.15983 | 158280 | 109546
1078.0492 | 0.15977 | 158345 | 109606
1081.7405 | 0.15872 | 158373 | 109891
1085.4276 | 0.15828 | 158757 | 110270
1089.1105 | 0.15708 | 158749 | 110569
1094.0146 | 0.15772 | 159256 | 110759
1097.6878 | 0.15804 | 159733 | 111008
1101.3569 | 0.15807 | 160210 | 111333
1105.0218 | 0.15863 | 160658 | 111498
1108.6825 | 0.15857 | 160862 | 111655
1112.3391 | 0.15789 | 161278 | 112120
1115.9915 | 0.15798 | 161486 | 112242
1119.6398 | 0.15806 | 161537 | 112258
1123.2839 | 0.15801 | 161637 | 112339
1128.1362 | 0.15832 | 161584 | 112222
1131.7706 | 0.16061 | 161656 | 111682
1135.4009 | 0.16143 | 161325 | 111243
1139.027 | 0.1642 | 161192 | 110444
1142.6489 | 0.16686 | 161165 | 109751
1146.2666 | 0.17031 | 161170 | 108886
1149.8802 | 0.17383 | 161190 | 108021
1153.4897 | 0.17746 | 161084 | 107051
1157.095 | 0.18063 | 161053 | 106252
1160.6961 | 0.18426 | 160921 | 105282
1165.4911 | 0.1893 | 160936 | 104076
1169.0825 | 0.19208 | 161175 | 103566
1172.6698 | 0.1942 | 161432 | 103226
1176.2529 | 0.19596 | 161724 | 102995
1179.8318 | 0.19726 | 162084 | 102916
1183.4066 | 0.19994 | 163037 | 102883
1186.9772 | 0.20443 | 164391 | 102671
1190.5437 | 0.20735 | 165691 | 102790
1194.106 | 0.20904 | 167162 | 103300
1198.8493 | 0.21168 | 169457 | 104084
1202.4019 | 0.21321 | 171192 | 104779
1205.9503 | 0.21341 | 173075 | 105882
1209.4946 | 0.21326 | 175091 | 107153
1213.0347 | 0.21391 | 177322 | 108357
1216.5706 | 0.21118 | 179497 | 110377
1220.1024 | 0.20723 | 181679 | 112740
1223.6301 | 0.20422 | 184148 | 115066
1227.1536 | 0.19995 | 186543 | 117713
1231.8451 | 0.19423 | 189744 | 121322
1235.3588 | 0.19012 | 192021 | 123946
1238.8684 | 0.18875 | 194700 | 126072
1242.3739 | 0.18552 | 197083 | 128567
1245.8752 | 0.18253 | 199050 | 130747
1249.3723 | 0.18027 | 201092 | 132779
1252.8653 | 0.17792 | 202824 | 134647
1256.3541 | 0.17616 | 204139 | 136070
1259.8388 | 0.17584 | 205772 | 137262
1264.4785 | 0.17511 | 209640 | 140075
1267.9535 | 0.17566 | 213614 | 142550
1271.4243 | 0.17494 | 217893 | 145648
1274.8909 | 0.17478 | 222140 | 148543
1278.3534 | 0.1743 | 226305 | 151494
1281.8117 | 0.17311 | 230247 | 154555
1285.2658 | 0.17245 | 233935 | 157269
1288.7158 | 0.17101 | 237153 | 159964
1292.1617 | 0.1705 | 240388 | 162335
1296.7496 | 0.16947 | 244011 | 165174
1300.1858 | 0.16842 | 246479 | 167247
1303.6177 | 0.16838 | 248690 | 168762
1307.0455 | 0.16827 | 251006 | 170377
1310.4692 | 0.16765 | 252759 | 171814
1313.8887 | 0.16727 | 254486 | 173139
1317.304 | 0.167 | 255850 | 174176
1320.7152 | 0.16792 | 257304 | 174795
1324.1222 | 0.16835 | 258560 | 175472
1328.6584 | 0.16946 | 259933 | 175956
1332.0557 | 0.17035 | 260538 | 176005
1335.4489 | 0.17141 | 261196 | 176019
1338.8378 | 0.17299 | 261860 | 175823
1342.2227 | 0.17445 | 262087 | 175385
1345.6033 | 0.17621 | 261726 | 174437
1348.9799 | 0.17786 | 261505 | 173626
1352.3522 | 0.17996 | 261053 | 172491
1355.7204 | 0.18269 | 260442 | 171008
1360.2048 | 0.18585 | 259346 | 169057
1363.5633 | 0.18749 | 258556 | 167907
1366.9177 | 0.18941 | 257493 | 166479
1370.2678 | 0.19221 | 256017 | 164459
1373.6138 | 0.19474 | 254286 | 162400
1376.9557 | 0.19844 | 252196 | 159698
1380.2934 | 0.20155 | 249580 | 156914
1383.6269 | 0.20573 | 247002 | 153804
1386.9562 | 0.21135 | 244733 | 150432
1391.3889 | 0.22047 | 243054 | 146296
1394.7086 | 0.22699 | 242405 | 143732
1398.0241 | 0.23427 | 242051 | 141135
1401.3354 | 0.24063 | 242003 | 139055
1404.6426 | 0.24831 | 242297 | 136784
1407.9456 | 0.25635 | 242540 | 134411
1411.2445 | 0.26527 | 242701 | 131764
1414.5392 | 0.2728 | 243157 | 129745
1417.8298 | 0.27961 | 243507 | 127910
1422.2107 | 0.2881 | 244002 | 125687
1425.4915 | 0.29331 | 244329 | 124355
1428.7682 | 0.29921 | 244959 | 122994
1432.0407 | 0.30425 | 245645 | 121915
1435.3091 | 0.30745 | 246216 | 121303
1438.5733 | 0.31075 | 246923 | 120729
1441.8333 | 0.31356 | 247585 | 120273
1445.0892 | 0.31568 | 248200 | 119983
1448.3409 | 0.31779 | 248692 | 119639
1452.6701 | 0.31932 | 249027 | 119378
1455.9121 | 0.32104 | 249372 | 119071
1459.15 | 0.32177 | 249381 | 118877
1462.3837 | 0.3225 | 249263 | 118620
1465.6132 | 0.32322 | 248929 | 118265
1468.8386 | 0.3232 | 248689 | 118157
1472.0598 | 0.32329 | 248179 | 117889
1475.2769 | 0.32248 | 247656 | 117861
1478.4898 | 0.3229 | 246956 | 117413
1482.7672 | 0.32247 | 246026 | 117089
1485.9704 | 0.32089 | 245243 | 117139
1489.1694 | 0.32076 | 244144 | 116651
1492.3643 | 0.32142 | 243140 | 115994
1495.555 | 0.3216 | 242142 | 115470
1498.7415 | 0.32051 | 240910 | 115170
1501.9239 | 0.31955 | 239518 | 114759
1505.1022 | 0.31784 | 238053 | 114508
1508.2763 | 0.3171 | 236560 | 113984
1512.5019 | 0.31474 | 234524 | 113619
1515.6663 | 0.31316 | 232768 | 113178
1518.8265 | 0.31205 | 231175 | 112691
1521.9825 | 0.30997 | 229306 | 112316
1525.1344 | 0.30848 | 227426 | 111778
1528.2822 | 0.30529 | 225237 | 111518
1531.4257 | 0.30424 | 223173 | 110764
1534.5652 | 0.30183 | 220899 | 110246
1537.7004 | 0.30084 | 218654 | 109374
1541.8743 | 0.29822 | 215386 | 108391
1544.9998 | 0.29481 | 212683 | 107875
1548.1212 | 0.29347 | 210129 | 106909
1551.2385 | 0.29114 | 207314 | 106044
1554.3515 | 0.29114 | 204526 | 104619
1557.4604 | 0.28977 | 201590 | 103443
1560.5652 | 0.28836 | 198548 | 102212
1563.6658 | 0.28688 | 195416 | 100944
1566.7622 | 0.28558 | 192118 | 99539
1570.8843 | 0.28569 | 187993 | 97376
1573.9711 | 0.28468 | 184903 | 95999
1577.0536 | 0.28357 | 181708 | 94582
1580.132 | 0.28141 | 178332 | 93286
1583.2063 | 0.28151 | 175074 | 91561
1586.2764 | 0.27887 | 171734 | 90361
1589.3423 | 0.27683 | 168289 | 88966
1592.4041 | 0.27512 | 164776 | 87452
1595.4617 | 0.27331 | 161457 | 86049
1599.532 | 0.27073 | 156891 | 84114
1602.5799 | 0.2702 | 153426 | 82357
1605.6237 | 0.26649 | 149896 | 81152
1608.6633 | 0.26487 | 146510 | 79616
1611.6987 | 0.2636 | 142953 | 77910
1614.73 | 0.26111 | 139393 | 76406
1617.7571 | 0.26034 | 136072 | 74719
1620.78 | 0.25934 | 132694 | 73031
1623.7988 | 0.25709 | 129212 | 71484
1626.8135 | 0.25561 | 125870 | 69874
1630.8265 | 0.25454 | 121323 | 67515
1633.8314 | 0.25132 | 118067 | 66192
1636.8322 | 0.25057 | 114646 | 64385
1639.8288 | 0.24837 | 111402 | 62881
1642.8212 | 0.24797 | 107975 | 61003
1645.8095 | 0.24673 | 104532 | 59227
1648.7936 | 0.2461 | 101195 | 57419
1651.7736 | 0.2451 | 97454 | 55424
1654.7494 | 0.24322 | 93768 | 53559
1658.7107 | 0.24529 | 88194 | 50136
1661.6768 | 0.24433 | 83577 | 47616
1664.6387 | 0.24665 | 78457 | 44461
1667.5965 | 0.24962 | 72539 | 40827
1670.5501 | 0.25221 | 65905 | 36873
1673.4996 | 0.25518 | 58487 | 32500
1676.4449 | 0.25672 | 50965 | 28220
1679.3861 | 0.25951 | 43609 | 23992
1682.323 | 0.26635 | 37089 | 20086
1686.2326 | 0.27752 | 29645 | 15647
1689.1598 | 0.28074 | 25107 | 13154
1692.083 | 0.28592 | 21325 | 11040
1695.0019 | 0.29292 | 18152 | 9247
1697.9167 | 0.29279 | 15611 | 7955
1700.8274 | 0.30229 | 13405 | 6683