## input
Method: | Hadamard App
Host Date-Time: | 28/10/21 @ 15:20:8
Header Version: | 1
System Temp (C): | 26.27
Detector Temp (C): | 24.45
Humidity (%): | 41.63
Lamp PD: | 3813
Shift Vector Coefficients: | -7.9835 | 0.050096 | -7.013e-05
Pixel to Wavelength Coefficients: | 1792.23 | -0.92492 | -0.00023108
Serial Number: | 6100208
Scan Config Name: | Hadamard App
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 7.03
Exposure (ms): | 0.635
Digital Resolution: | 228
Num Repeats: | 10
PGA Gain: | 32
Total Measurement Time in sec: | 3.535
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.1648 | 0.15899 | 23040 | 15977
905.0501 | 0.15053 | 27072 | 19142
908.9313 | 0.15637 | 30626 | 21366
912.8084 | 0.1478 | 32462 | 23098
917.9713 | 0.15643 | 35994 | 25107
921.8386 | 0.1542 | 39338 | 27581
925.7018 | 0.15934 | 44046 | 30519
929.5608 | 0.15049 | 48260 | 34127
933.4157 | 0.15328 | 54310 | 38159
937.2663 | 0.15441 | 61558 | 43139
941.1129 | 0.14979 | 67934 | 48117
944.9553 | 0.15007 | 73704 | 52170
948.7935 | 0.14713 | 78982 | 56285
953.9046 | 0.15161 | 85996 | 60655
957.7331 | 0.15113 | 91664 | 64725
961.5575 | 0.14956 | 96048 | 68066
965.3777 | 0.15336 | 101662 | 71417
969.1937 | 0.1522 | 106670 | 75135
973.0056 | 0.1559 | 113652 | 79373
976.8133 | 0.15254 | 118308 | 83267
980.6169 | 0.15473 | 123832 | 86716
984.4162 | 0.15709 | 129368 | 90103
989.4756 | 0.15438 | 135564 | 95010
993.2653 | 0.1569 | 139996 | 97547
997.0509 | 0.15619 | 143502 | 100154
1000.8322 | 0.15754 | 146980 | 102263
1004.6094 | 0.15716 | 149792 | 104311
1008.3825 | 0.15714 | 152172 | 105972
1012.1514 | 0.15769 | 153846 | 107004
1015.9161 | 0.15762 | 155376 | 108085
1019.6767 | 0.15876 | 157086 | 108988
1024.6843 | 0.15648 | 157272 | 109691
1028.4352 | 0.15695 | 157836 | 109966
1032.1819 | 0.15886 | 159090 | 110352
1035.9244 | 0.15548 | 158602 | 110873
1039.6628 | 0.15636 | 158508 | 110584
1043.397 | 0.15729 | 158640 | 110440
1047.1271 | 0.15574 | 157390 | 109961
1050.853 | 0.1557 | 157226 | 109856
1054.5748 | 0.15541 | 157098 | 109841
1059.5306 | 0.15445 | 156294 | 109520
1063.2427 | 0.1539 | 155790 | 109304
1066.9506 | 0.15474 | 156140 | 109340
1070.6543 | 0.15166 | 155654 | 109775
1074.3538 | 0.15189 | 155254 | 109434
1078.0492 | 0.15385 | 156294 | 109672
1081.7405 | 0.15035 | 155888 | 110270
1085.4276 | 0.1512 | 156062 | 110178
1089.1105 | 0.1508 | 156624 | 110677
1094.0146 | 0.15202 | 157084 | 110690
1097.6878 | 0.15124 | 157218 | 110984
1101.3569 | 0.15048 | 157528 | 111397
1105.0218 | 0.15116 | 157666 | 111321
1108.6825 | 0.15128 | 158184 | 111657
1112.3391 | 0.15048 | 158744 | 112259
1115.9915 | 0.15253 | 159044 | 111940
1119.6398 | 0.15236 | 159444 | 112267
1123.2839 | 0.1525 | 159666 | 112385
1128.1362 | 0.15502 | 160202 | 112110
1131.7706 | 0.1561 | 159750 | 111517
1135.4009 | 0.15832 | 160270 | 111309
1139.027 | 0.16131 | 160212 | 110506
1142.6489 | 0.1651 | 160370 | 109653
1146.2666 | 0.16713 | 159778 | 108739
1149.8802 | 0.1732 | 160332 | 107602
1153.4897 | 0.17663 | 160426 | 106817
1157.095 | 0.18016 | 160634 | 106092
1160.6961 | 0.18539 | 160776 | 104914
1165.4911 | 0.19063 | 161074 | 103848
1169.0825 | 0.19544 | 161976 | 103278
1172.6698 | 0.19581 | 161856 | 103114
1176.2529 | 0.19868 | 162084 | 102579
1179.8318 | 0.20241 | 163734 | 102737
1183.4066 | 0.20312 | 164332 | 102943
1186.9772 | 0.20682 | 164828 | 102380
1190.5437 | 0.20914 | 166038 | 102582
1194.106 | 0.21149 | 167798 | 103110
1198.8493 | 0.21257 | 169728 | 104036
1202.4019 | 0.2137 | 171112 | 104612
1205.9503 | 0.21386 | 173110 | 105793
1209.4946 | 0.21375 | 175014 | 106985
1213.0347 | 0.21121 | 176088 | 108274
1216.5706 | 0.21114 | 178774 | 109942
1220.1024 | 0.2071 | 181324 | 112552
1223.6301 | 0.20272 | 183226 | 114885
1227.1536 | 0.19867 | 185244 | 117241
1231.8451 | 0.19309 | 188906 | 121103
1235.3588 | 0.19076 | 191910 | 123690
1238.8684 | 0.1869 | 193530 | 125850
1242.3739 | 0.18508 | 196494 | 128311
1245.8752 | 0.18295 | 199118 | 130666
1249.3723 | 0.18215 | 201708 | 132610
1252.8653 | 0.18032 | 203552 | 134388
1256.3541 | 0.17774 | 204706 | 135952
1259.8388 | 0.17852 | 206378 | 136818
1264.4785 | 0.17711 | 210348 | 139903
1267.9535 | 0.17587 | 213458 | 142378
1271.4243 | 0.17748 | 218236 | 145025
1274.8909 | 0.17669 | 222664 | 148237
1278.3534 | 0.17756 | 227606 | 151226
1281.8117 | 0.17469 | 231158 | 154602
1285.2658 | 0.17529 | 234862 | 156865
1288.7158 | 0.17604 | 239510 | 159692
1292.1617 | 0.1738 | 241996 | 162183
1296.7496 | 0.17417 | 246026 | 164745
1300.1858 | 0.17405 | 249224 | 166931
1303.6177 | 0.175 | 251780 | 168275
1307.0455 | 0.17482 | 254178 | 169947
1310.4692 | 0.17506 | 256638 | 171500
1313.8887 | 0.17623 | 258808 | 172484
1317.304 | 0.17708 | 260894 | 173533
1320.7152 | 0.17742 | 262348 | 174363
1324.1222 | 0.17956 | 264390 | 174857
1328.6584 | 0.18096 | 266008 | 175362
1332.0557 | 0.18242 | 266974 | 175409
1335.4489 | 0.18509 | 268192 | 175127
1338.8378 | 0.18687 | 269100 | 175001
1342.2227 | 0.18901 | 270190 | 174849
1345.6033 | 0.19148 | 270154 | 173834
1348.9799 | 0.19446 | 270874 | 173105
1352.3522 | 0.19839 | 271326 | 171829
1355.7204 | 0.20039 | 270620 | 170598
1360.2048 | 0.20559 | 270032 | 168201
1363.5633 | 0.2082 | 269882 | 167099
1366.9177 | 0.21115 | 269494 | 165730
1370.2678 | 0.21488 | 268552 | 163736
1373.6138 | 0.21808 | 266936 | 161558
1376.9557 | 0.22243 | 264986 | 158779
1380.2934 | 0.22665 | 262986 | 156055
1383.6269 | 0.23218 | 261080 | 152966
1386.9562 | 0.2372 | 258622 | 149783
1391.3889 | 0.24642 | 256488 | 145427
1394.7086 | 0.25362 | 256138 | 142840
1398.0241 | 0.25905 | 254696 | 140272
1401.3354 | 0.26622 | 254988 | 138133
1404.6426 | 0.27347 | 255410 | 136072
1407.9456 | 0.28287 | 255958 | 133444
1411.2445 | 0.29071 | 255750 | 130951
1414.5392 | 0.29765 | 256172 | 129087
1417.8298 | 0.30647 | 257214 | 127007
1422.2107 | 0.31461 | 258046 | 125051
1425.4915 | 0.32181 | 259482 | 123680
1428.7682 | 0.32609 | 259420 | 122437
1432.0407 | 0.33121 | 259954 | 121250
1435.3091 | 0.33647 | 262228 | 120839
1438.5733 | 0.33823 | 262446 | 120452
1441.8333 | 0.34184 | 263160 | 119780
1445.0892 | 0.34469 | 264318 | 119518
1448.3409 | 0.34752 | 264708 | 118919
1452.6701 | 0.34879 | 265428 | 118894
1455.9121 | 0.35086 | 266226 | 118683
1459.15 | 0.35009 | 265890 | 118743
1462.3837 | 0.35207 | 265878 | 118199
1465.6132 | 0.35257 | 265424 | 117861
1468.8386 | 0.35342 | 265464 | 117647
1472.0598 | 0.35345 | 264750 | 117323
1475.2769 | 0.35221 | 264366 | 117488
1478.4898 | 0.35332 | 263460 | 116787
1482.7672 | 0.35252 | 262574 | 116610
1485.9704 | 0.35236 | 262702 | 116709
1489.1694 | 0.35099 | 261146 | 116383
1492.3643 | 0.35194 | 259760 | 115513
1495.555 | 0.35155 | 258460 | 115039
1498.7415 | 0.35076 | 257456 | 114800
1501.9239 | 0.35039 | 255958 | 114229
1505.1022 | 0.34857 | 254404 | 114012
1508.2763 | 0.34912 | 252880 | 113187
1512.5019 | 0.34677 | 251072 | 112988
1515.6663 | 0.34571 | 249794 | 112686
1518.8265 | 0.34333 | 247378 | 112211
1521.9825 | 0.34242 | 245574 | 111624
1525.1344 | 0.34083 | 243870 | 111258
1528.2822 | 0.3404 | 242580 | 110778
1531.4257 | 0.33853 | 239840 | 110001
1534.5652 | 0.33784 | 238564 | 109589
1537.7004 | 0.33491 | 235352 | 108844
1541.8743 | 0.33326 | 231954 | 107681
1544.9998 | 0.33076 | 229868 | 107330
1548.1212 | 0.33119 | 227216 | 105986
1551.2385 | 0.32858 | 224534 | 105366
1554.3515 | 0.32802 | 221330 | 103998
1557.4604 | 0.32521 | 217890 | 103045
1560.5652 | 0.32525 | 214668 | 101511
1563.6658 | 0.32358 | 211232 | 100272
1566.7622 | 0.32396 | 208364 | 98824
1570.8843 | 0.32268 | 203258 | 96687
1573.9711 | 0.32166 | 200070 | 95395
1577.0536 | 0.32079 | 196660 | 93957
1580.132 | 0.31945 | 193508 | 92736
1583.2063 | 0.31943 | 189838 | 90982
1586.2764 | 0.31632 | 186294 | 89925
1589.3423 | 0.31648 | 182964 | 88284
1592.4041 | 0.31652 | 179870 | 86784
1595.4617 | 0.31157 | 175732 | 85759
1599.532 | 0.31172 | 170832 | 83339
1602.5799 | 0.30982 | 166558 | 81611
1605.6237 | 0.30902 | 163520 | 80269
1608.6633 | 0.30663 | 159808 | 78881
1611.6987 | 0.30551 | 155836 | 77119
1614.73 | 0.30565 | 152624 | 75505
1617.7571 | 0.30293 | 148604 | 73978
1620.78 | 0.30055 | 144756 | 72458
1623.7988 | 0.30124 | 141528 | 70729
1626.8135 | 0.29908 | 137870 | 69245
1630.8265 | 0.29805 | 132904 | 66910
1633.8314 | 0.29587 | 129798 | 65674
1636.8322 | 0.29481 | 125894 | 63855
1639.8288 | 0.29536 | 123008 | 62312
1642.8212 | 0.29162 | 118684 | 60642
1645.8095 | 0.29386 | 115202 | 58560
1648.7936 | 0.28994 | 110856 | 56862
1651.7736 | 0.29447 | 107286 | 54459
1654.7494 | 0.29269 | 104028 | 53022
1658.7107 | 0.29647 | 98204 | 49620
1661.6768 | 0.29175 | 92924 | 47465
1664.6387 | 0.2948 | 86904 | 44080
1667.5965 | 0.29858 | 80424 | 40439
1670.5501 | 0.30083 | 72840 | 36437
1673.4996 | 0.30312 | 64828 | 32258
1676.4449 | 0.30315 | 56796 | 28260
1679.3861 | 0.30547 | 48746 | 24125
1682.323 | 0.31213 | 41440 | 20197
1686.2326 | 0.3165 | 32462 | 15663
1689.1598 | 0.32887 | 27898 | 13083
1692.083 | 0.33323 | 23732 | 11018
1695.0019 | 0.34671 | 20492 | 9223
1697.9167 | 0.33308 | 17288 | 8029
1700.8274 | 0.3508 | 14814 | 6605