## input
Method: | nA_130919_08
Host Date-Time: | 7/10/20 @ 17:35:17
Header Version: | 1
System Temp (C): | 29.27
Detector Temp (C): | 26.74
Humidity (%): | 38.42
Lamp PD: | 99
Shift Vector Coefficients: | -3.3478 | 0.033145 | -7.9982e-05
Pixel to Wavelength Coefficients: | 1801.48 | -0.9217 | -0.00023915
Serial Number: | 6110032
Scan Config Name: | nA_130919_08
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 9.37
Exposure (ms): | 1.27
Digital Resolution: | 80
Num Repeats: | 6
PGA Gain: | 64
Total Measurement Time in sec: | 2.395
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.262 | 0.98453 | 176112 | 18250
913.014 | 0.99317 | 229196 | 23283
924.7272 | 1.0006 | 304028 | 30364
936.4017 | 1.0026 | 387052 | 38477
948.0374 | 1.0054 | 467448 | 46166
958.3478 | 1.0079 | 537392 | 52772
969.9104 | 1.0122 | 606904 | 59013
981.4342 | 1.0184 | 663420 | 63586
992.9193 | 1.0247 | 700928 | 66221
1004.3656 | 1.0317 | 720004 | 66939
1015.7732 | 1.0377 | 729420 | 66871
1027.1421 | 1.0444 | 738212 | 66649
1038.4722 | 1.0499 | 741848 | 66130
1048.5109 | 1.0536 | 746896 | 66021
1059.7678 | 1.0552 | 749528 | 66002
1070.986 | 1.0588 | 754492 | 65890
1082.1655 | 1.062 | 757604 | 65686
1093.3062 | 1.0654 | 758896 | 65283
1104.4082 | 1.0684 | 754360 | 64450
1115.4714 | 1.0726 | 749772 | 63438
1126.4959 | 1.0756 | 741592 | 62310
1136.2629 | 1.0778 | 733812 | 61350
1147.2142 | 1.0838 | 726352 | 59885
1158.1268 | 1.0949 | 724380 | 58216
1169.0006 | 1.1028 | 723772 | 57118
1179.8357 | 1.1159 | 733364 | 56165
1190.632 | 1.1404 | 748136 | 54149
1201.3896 | 1.1755 | 770640 | 51441
1212.1085 | 1.1803 | 797832 | 52671
1221.6038 | 1.1528 | 829868 | 58373
1232.2495 | 1.1265 | 869552 | 64979
1242.8565 | 1.1158 | 908712 | 69610
1253.4247 | 1.1116 | 941016 | 72781
1263.9541 | 1.1118 | 973724 | 75266
1274.4448 | 1.1133 | 1012180 | 77971
1284.8968 | 1.1179 | 1061032 | 80887
1295.31 | 1.1214 | 1100824 | 83240
1305.6845 | 1.1236 | 1126500 | 84753
1314.8737 | 1.1246 | 1138968 | 85485
1325.175 | 1.1234 | 1141216 | 85895
1335.4376 | 1.1214 | 1130240 | 85465
1345.6614 | 1.1188 | 1110300 | 84449
1355.8465 | 1.1157 | 1079448 | 82706
1365.9928 | 1.1201 | 1046408 | 79358
1376.1004 | 1.1337 | 1015396 | 74628
1386.1693 | 1.1509 | 995020 | 70295
1395.0868 | 1.1417 | 968720 | 69899
1405.0825 | 1.1271 | 927920 | 69249
1415.0394 | 1.1153 | 885084 | 67865
1424.9576 | 1.0959 | 852884 | 68390
1434.8371 | 1.0804 | 828164 | 68815
1444.6778 | 1.0662 | 814476 | 69939
1454.4797 | 1.0546 | 799560 | 70511
1464.243 | 1.0436 | 783468 | 70858
1472.8889 | 1.0368 | 770076 | 70752
1482.5789 | 1.0348 | 756424 | 69815
1492.2302 | 1.0369 | 746060 | 68532
1501.8428 | 1.0414 | 735076 | 66830
1511.4166 | 1.0454 | 718704 | 64741
1520.9517 | 1.0512 | 701220 | 62318
1530.448 | 1.0551 | 679584 | 59861
1539.9056 | 1.057 | 658416 | 57746
1548.2798 | 1.0556 | 633836 | 55764
1557.6642 | 1.0571 | 605916 | 53123
1567.0099 | 1.0578 | 576788 | 50494
1576.3168 | 1.0603 | 548948 | 47777
1585.585 | 1.0638 | 520896 | 44978
1594.8144 | 1.0723 | 495256 | 41934
1604.0051 | 1.0811 | 471928 | 39152
1613.1571 | 1.0921 | 447880 | 36227
1621.2596 | 1.1014 | 426256 | 33747
1630.3384 | 1.1121 | 398652 | 30796
1639.3785 | 1.1216 | 369948 | 27962
1648.3798 | 1.1324 | 338344 | 24945
1657.3423 | 1.1451 | 296660 | 21238
1666.2661 | 1.1551 | 228936 | 16017
1675.1512 | 1.1725 | 148244 | 9966
1683.9975 | 1.1796 | 90392 | 5978
1692.8051 | 1.192 | 53196 | 3419
1700.6015 | 1.2163 | 35332 | 2147